**REQUEST FOR QUOTATION**

**Date: June 6, 2019**

Craftsmen Development & Construction Corporation (CDCC) is an emerging design and build company composed of individuals with long and diverse experiences in the construction industry. Since its inception in 2015, the company has been involved in various public and private construction projects. Among these are residential projects, mid-rise building, and fit-out projects

As part of the requirement for an upcoming project, CDCC is inviting interested suppliers to become one of our partners by sending cost proposal for the:

**Supply of Materials and Labors for Electrical Works**

Relevant Details of the Contract are as follows:

**Probable Start Date:** July 2019

**Location:** Katipunan Avenue, Quezon City

**Deadline:** June XX, 2019

Attached in this RFQ is a copy of the BOQ and relevant plans. Kindly send your quotation to [cdcc.pammytolentino@gmail.com](mailto:cdcc.pammytolentino@gmail.com). For inquiries you may call (0917)XXX XXXX or (0918)XXX XXXX. Proposal price must include Value Added Tax.

Thank you very much and hoping to work with you in the future.

Very truly yours,

Pamela Tolentino

**Procurement Assistant**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Electrical Roughing-ins/Fixtures Rough-ins** | | |  |  |
| Surface Mounted Downlight | | | sets | 148.00 |
| Recessed Downlight | | | sets | 22.00 |
| Spike Light | | | sets | 41.00 |
| Emergency light | | | sets | 14.00 |
| Smoke Detector |  |  | units | 2.00 |
| Telephone / Data Outlet | |  | sets | 3.00 |
| Duplex CO with ground and plate | |  | sets | 28.00 |
| Switch bank | | | assy | 1.00 |
| 1 - gang switch w/ plate | | | sets | 2.00 |
| 2 - gang switch w/ plate | | | sets | 2.00 |
| Special Purpose Outlet | | | sets | 4.00 |
| 50mm2 THHN wires (Red) | | | lm | 50.00 |
| 50mm2 THHN wires (Yellow) | | | lm | 50.00 |
| 50mm2 THHN wires (Blue) | | | lm | 50.00 |
| 50mm2 THHN wires (White) | | | lm | 50.00 |
| 14mm2 THHN wires (Green) | | | lm | 50.00 |
| 22mm2 THHN wires (Red) | | | lm | 12.00 |
| 22mm2 THHN wires (Yellow) | | | lm | 12.00 |
| 22mm2 THHN wires (Blue) | | | lm | 12.00 |
| 22mm2 THHN wires (White) | | | lm | 12.00 |
| 8.0mm2 THHN wires (Green) | | | lm | 12.00 |
| 14mm2 THHN wires (Red) | | | lm | 100.00 |
| 14mm2 THHN wires (Yellow) | | | lm | 100.00 |
| 14mm2 THHN wires (Blue) | | | lm | 100.00 |
| 14mm2 THHN wires (White) | | | lm | 100.00 |
| 8.0mm2 THHN wires (Green) | | | lm | 100.00 |
| 8.0mm2 THHN wires (Red) | | | lm | 300.00 |
| 8.0mm2 THHN wires (Yellow) | | | lm | 300.00 |
| 8.0mm2 THHN wires (Blue) | | | lm | 300.00 |
| 8.0mm2 THHN wires (White) | | | lm | 300.00 |
| 5.5mm2 THHN wires (Green) | | | lm | 600.00 |
| 5.5mm2 THHN wires (Red) | |  | lm | 300.00 |
| 5.5mm2 THHN wires (Yellow) | |  | lm | 300.00 |
| 5.5mm2 THHN wires (Blue) | |  | lm | 300.00 |
| 5.5mm2 THHN wires (White) | |  | lm | 300.00 |
| 5.5mm2 THHN wires (Green) | | | lm | 300.00 |
| 3.5mm2 THHN wires (Red) | |  | lm | 1,500.00 |
| 5.5mm2 THHN wires (Yellow) | |  | lm | 1,500.00 |
| 5.5mm2 THHN wires (Blue) | |  | lm | 1,500.00 |
| 5.5mm2 THHN wires (White) | |  | lm | 1,500.00 |
| 3.5mm2 THHN wires (Green) | | | lm | 1,500.00 |
| 2C 1.25mm2 TF Wire | | | roll | 1.00 |
| Wiring Connectors | | | lot | 1.00 |
| PPT (3P 4 Wire) | | | assy | 1.00 |
| Main 125AT , 3P , 60Hz, | | |  |  |
| Branches: 1- 70AT , 3P , 60Hz | | |  |  |
| 2- 50AT , 3P , 60Hz | | |  |  |
| 1- 30AT ,3P , 60Hz | | |  |  |
| 6- 40AT , 1P , 60Hz | | |  |  |
| 1- 50AT , 1P , 60Hz | | |  |  |
| 5- 20AT , 1P , 60Hz | | |  |  |
| LPT (3P 4 Wire) | | | assy | 1.00 |
| Main Lugs Only 70AT , 3P , 60Hz | | |  |  |
| Branches: 4 - 20AT , 1P , 60Hz | | |  |  |
| LPT (1P 3 Wire) | | | assy | 1.00 |
| Main Lugs Only 40AT , 1P , 60Hz | | |  |  |
| Branches: 4 - 20AT , 1P , 60Hz | | |  |  |
| LPT (1P 3 Wire) | | | assy | 1.00 |
| Main Lugs Only 40AT , 1P , 60Hz | | |  |  |
| Branches: 4 - 20AT , 1P , 60Hz | | |  |  |
| ECB (50AT , 3P)Nema 4x | | | assy | 2.00 |
| ECB (50AT , 1P)Nema 4x | | | assy | 1.00 |
| ECB (20AT , 1P)Nema 1 | | | assy | 2.00 |
| 65mm PVC Conduit | | | lght | 8.00 |
| 65mm IMC Conduit | | | lght | 8.00 |
| 40mm IMC Conduit | | | lght | 2.00 |
| 25mm PVC Conduit | | | lght | 200.00 |
| 25mm IMC Conduit | | | lght | 200.00 |
| 20mm PVC Conduit | | | lght | 200.00 |
| 20mm IMC Conduit | | | lght | 200.00 |
| 15mm IMC Conduit | | | lght | 500.00 |
| IMC Fitting | | | lot | 1.00 |
| PVC Fittings | | | lot | 1.00 |
| 1/2" Flexible (JB to lighting fixtures) | | | lm | 300.00 |
| 1/2" Flexible connector | | | pcs | 300.00 |
| Octagonal box with Cover | | | pcs | 450.00 |
| Square Box 4" x 4" w/ Raised Cover | | | pcs | 50.00 |
| Pull Box 4" x 4" w/ Cover | | | pcs | 100.00 |
| Supporting Materials | | | lot | 1.00 |
| Chipping works | | | lot | 1.00 |
| Civil Related works | | | lot | 1.00 |
| Consumables | | | lot | 1.00 |