## Grooved Fittings
Grooved Fittings | Elbows | 1" Ductile Iron Grooved Elbow 11.25º
1-1/4" Ductile Iron Grooved Elbow 11.25º
1-1/2" Ductile Iron Grooved Elbow 11.25º
2" Ductile Iron Grooved Elbow 11.25º
2 1/2" Ductile Iron Grooved Elbow 11.25º
3" Ductile Iron Grooved Elbow 11.25º
4" Ductile Iron Grooved Elbow 11.25º
5" Ductile Iron Grooved Elbow 11.25º
5 1/2" Ductile Iron Grooved Elbow 11.25º
6" Ductile Iron Grooved Elbow 11.25º
6 1/2" Ductile Iron Grooved Elbow 11.25º
8" Ductile Iron Grooved Elbow 11.25º
10" Ductile Iron Grooved Elbow 11.25º
12" Ductile Iron Grooved Elbow 11.25º
1" Ductile Iron Grooved Elbow 22.5º
1-1/4" Ductile Iron Grooved Elbow 22.5º
1-1/2" Ductile Iron Grooved Elbow 22.5º
2" Ductile Iron Grooved Elbow 22.5º
2 1/2" Ductile Iron Grooved Elbow 22.5º
3" Ductile Iron Grooved Elbow 22.5º
4" Ductile Iron Grooved Elbow 22.5º
5" Ductile Iron Grooved Elbow 22.5º
5 1/2" Ductile Iron Grooved Elbow 22.5º
6" Ductile Iron Grooved Elbow 22.5º
6 1/2" Ductile Iron Grooved Elbow 22.5º
8" Ductile Iron Grooved Elbow 22.5º
10" Ductile Iron Grooved Elbow 22.5º
12" Ductile Iron Grooved Elbow 22.5º
1" Ductile Iron Grooved Elbow 45º
1-1/4" Ductile Iron Grooved Elbow 45º
1-1/2" Ductile Iron Grooved Elbow 45º
2" Ductile Iron Grooved Elbow 45º
2 1/2" Ductile Iron Grooved Elbow 45º
3" Ductile Iron Grooved Elbow 45º
4" Ductile Iron Grooved Elbow 45º
5" Ductile Iron Grooved Elbow 45º
5 1/2" Ductile Iron Grooved Elbow 45º
6" Ductile Iron Grooved Elbow 45º
6 1/2" Ductile Iron Grooved Elbow 45º
8" Ductile Iron Grooved Elbow 45º
10" Ductile Iron Grooved Elbow 45º
12" Ductile Iron Grooved Elbow 45º
| .. | 1" Ductile Iron Grooved Elbow 90º Short Radius
1-1/4" Ductile Iron Grooved Elbow 90º Short Radius
1-1/2" Ductile Iron Grooved Elbow 90º Short Radius
2" Ductile Iron Grooved Elbow 90º Short Radius
2 1/2" Ductile Iron Grooved Elbow 90º Short Radius
3" Ductile Iron Grooved Elbow 90º Short Radius
4" Ductile Iron Grooved Elbow 90º Short Radius
5" Ductile Iron Grooved Elbow 90º Short Radius
5 1/2" Ductile Iron Grooved Elbow 90º Short Radius
6" Ductile Iron Grooved Elbow 90º Short Radius
6 1/2" Ductile Iron Grooved Elbow 90º Short Radius
8" Ductile Iron Grooved Elbow 90º Short Radius
10" Ductile Iron Grooved Elbow 90º Short Radius
12" Ductile Iron Grooved Elbow 90º Short Radius
1" Ductile Iron Grooved Elbow 90º Standard Radius
1-1/4" Ductile Iron Grooved Elbow 90º Standard Radius
1-1/2" Ductile Iron Grooved Elbow 90º Standard Radius
2" Ductile Iron Grooved Elbow 90º Standard Radius
2 1/2" Ductile Iron Grooved Elbow 90º Standard Radius
3" Ductile Iron Grooved Elbow 90º Standard Radius
4" Ductile Iron Grooved Elbow 90º Standard Radius
5" Ductile Iron Grooved Elbow 90º Standard Radius
5 1/2" Ductile Iron Grooved Elbow 90º Standard Radius
6" Ductile Iron Grooved Elbow 90º Standard Radius
6 1/2" Ductile Iron Grooved Elbow 90º Standard Radius
8" Ductile Iron Grooved Elbow 90º Standard Radius
10" Ductile Iron Grooved Elbow 90º Standard Radius
12" Ductile Iron Grooved Elbow 90º Standard Radius
1-1/2" x 1" Ductile Iron Grooved Elbow with 1" FNPT Outlet
2" x 1" Ductile Iron Grooved Elbow with 1" FNPT Outlet
2-1/2" x 1" Ductile Iron Grooved Elbow with 1" FNPT Outlet
3" x 1" Ductile Iron Grooved Elbow with 1" FNPT Outlet
4" x 1" Ductile Iron Grooved Elbow with 1" FNPT Outlet
6" x 1" Ductile Iron Grooved Elbow with 1" FNPT Outlet
1-1/2" x 1" Ductile Iron Grooved Elbow with 1" BSPT Outlet
2" x 1" Ductile Iron Grooved Elbow with 1" BSPT Outlet
2-1/2" x 1" Ductile Iron Grooved Elbow with 1" BSPT Outlet
3" x 1" Ductile Iron Grooved Elbow with 1" BSPT Outlet
4" x 1" Ductile Iron Grooved Elbow with 1" BSPT Outlet
6" x 1" Ductile Iron Grooved Elbow with 1" BSPT Outlet
Grooved Fittings | Grooved Elbows | 1-1/4" Grooved Elbow 11.25º
1-1/2" Grooved Elbow 11.25º
2" Grooved Elbow 11.25º
2-1/2" Grooved Elbow 11.25º
3" Grooved Elbow 11.25º
4" Grooved Elbow 11.25º
5" Grooved Elbow 11.25º
6" Grooved Elbow 11.25º
8" Grooved Elbow 11.25º
1-1/4" Grooved Elbow 22.5º
1-1/2" Grooved Elbow 22.5º
2" Grooved Elbow 22.5º
2-1/2" Grooved Elbow 22.5º
3" Grooved Elbow 22.5º
4" Grooved Elbow 22.5º
5" Grooved Elbow 22.5º
6" Grooved Elbow 22.5º
8" Grooved Elbow 22.5º
10" Grooved Elbow 22.5º
1" Grooved Elbow 90º Standard Radius
1-1/4" Grooved Elbow 90º Standard Radius
1-1/2" Grooved Elbow 90º Standard Radius
2" Grooved Elbow 90º Standard Radius
2-1/2" Grooved Elbow 90º Standard Radius
3" Grooved Elbow 90º Standard Radius
4" Grooved Elbow 90º Standard Radius
5" Grooved Elbow 90º Standard Radius
6" Grooved Elbow 90º Standard Radius
8" Grooved Elbow 90º Standard Radius
10" Grooved Elbow 90º Standard Radius
12" Grooved Elbow 90º Standard Radius
2" Grooved Elbow 90º Short Radius
2-1/2" Grooved Elbow 90º Short Radius
3" Grooved Elbow 90º Short Radius
4" Grooved Elbow 90º Short Radius
5" Grooved Elbow 90º Short Radius
6" Grooved Elbow 90º Short Radius
8" Grooved Elbow 90º Short Radius
10" Grooved Elbow 90º Short Radius
12" Grooved Elbow 90º Short Radius
1-1/2" Grooved Drain Elbow
2" Grooved Drain Elbow
2-1/2" Grooved Drain Elbow
3" Grooved Drain Elbow
4" Grooved Drain Elbow
6" Grooved Drain Elbow
8" Grooved Drain Elbow
| End Elbow 90º | 1-1/4" Grooved End Elbow 90º FNPT
1-1/2" Grooved End Elbow 90º FNPT
2" Grooved End Elbow 90º FNPT
3" Grooved End Elbow 90º FNPT
1-1/4" Grooved End Elbow 90º BSPT
1-1/2" Grooved End Elbow 90º BSPT
2" Grooved End Elbow 90º BSPT
3" Grooved End Elbow 90º BSPT
Grooved Cross-Short Radius |  | 2" Grooved Cross-Short Radius
2-1/2" Grooved Cross-Short Radius
3" Grooved Cross-Short Radius
4" Grooved Cross-Short Radius
5" Grooved Cross-Short Radius
6" Grooved Cross-Short Radius
8" Grooved Cross-Short Radius
Grooved Reducing Tee |  | 2" x 1-1/4" Grooved Reducing Tee
2" x 1-1/2" Grooved Reducing Tee
2-1/2" x 1-1/4" Grooved Reducing Tee
2-1/2" x 2" Grooved Reducing Tee
3" x 2" Grooved Reducing Tee
4" x 2" Grooved Reducing Tee
4" x 2-1/2" Grooved Reducing Tee
4" x 3" Grooved Reducing Tee
5" x 4" Grooved Reducing Tee
6" x 2" Grooved Reducing Tee
6" x 2-1/2" Grooved Reducing Tee
6" x 3" Grooved Reducing Tee
6" x 4" Grooved Reducing Tee
6" x 5" Grooved Reducing Tee
8" x 3" Grooved Reducing Tee
8" x 4" Grooved Reducing Tee
8" x 6" Grooved Reducing Tee
10" x 4" Grooved Reducing Tee
10" x 6" Grooved Reducing Tee
10" x 8" Grooved Reducing Tee
Grooved Tee-Standard Radius |  | 1-1/2" Grooved Tee-Standard Radius
1-1/4" Grooved Tee-Standard Radius
1" Grooved Tee-Standard Radius
2" Grooved Tee-Standard Radius
2-1/2" Grooved Tee-Standard Radius
3" Grooved Tee-Standard Radius
4" Grooved Tee-Standard Radius
5" Grooved Tee-Standard Radius
6" Grooved Tee-Standard Radius
8" Grooved Tee-Standard Radius
10" Grooved Tee-Standard Radius
12" Grooved Tee-Standard Radius
2" Grooved Tee-Short Radius
2-1/2" Grooved Tee-Short Radius
3" Grooved Tee-Short Radius
4" Grooved Tee-Short Radius
5" Grooved Tee-Short Radius
6" Grooved Tee-Short Radius
8" Grooved Tee-Short Radius
10" Grooved Tee-Short Radius
12" Grooved Tee-Short Radius
Grooved End Caps |  | 1" Grooved End Cap
1-1/4" Grooved End Cap
1-1/2" Grooved End Cap
2" Grooved End Cap
2-1/2" Grooved End Cap
3" Grooved End Cap
4" Grooved End Cap
5" Grooved End Cap
6" Grooved End Cap
8" Grooved End Cap
10" Grooved End Cap
12" Grooved End Cap
Grooved Drain Caps |  | 2" x 1" Grooved Drain Cap
2-1/2" x 1" Grooved Drain Cap
3" x 1" Grooved Drain Cap
4" x 1" Grooved Drain Cap
4" x 1-1/4" Grooved Drain Cap
6" x 1" Grooved Drain Cap
8" x 1" Grooved Drain Cap
6" x 2" Grooved Drain Cap
8" x 2" Grooved Drain Cap
Mechanical Tees | U Bolt Mechanical Tees | 1-1/4" x 1/2" U Bolt Mechanical Tee
1-1/4" x 3/4" U Bolt Mechanical Tee
1-1/4" x 1" U Bolt Mechanical Tee
1-1/4" x 1/2" U Bolt Mechanical Tee
1-1/2" x 3/4" U Bolt Mechanical Tee
1-1/2" x 1" U Bolt Mechanical Tee
2" x 1/2" U Bolt Mechanical Tee
2" x 3/4" U Bolt Mechanical Tee
2" x 1" U Bolt Mechanical Tee
2-1/2" x 1/2" U Bolt Mechanical Tee
2-1/2" x 1" U Bolt Mechanical Tee
| Grooved Mechanical Tees | 2" x 1-1/4" Grooved Mechanical Tee
2" x 1-1/2" Grooved Mechanical Tee
2-1/2" x 1-1/4" Grooved Mechanical Tee
2-1/2" x 1-1/2" Grooved Mechanical Tee
3" x 1-1/4" Grooved Mechanical Tee
3" x 1-1/2" Grooved Mechanical Tee
3" x 2" Grooved Mechanical Tee
4" x 1-1/4" Grooved Mechanical Tee
4" x 1-1/2" Grooved Mechanical Tee
4" x 2" Grooved Mechanical Tee
4" x 2-1/2" Grooved Mechanical Tee
4" x 3" Grooved Mechanical Tee
5" x 1-1/2" Grooved Mechanical Tee
5" x 2" Grooved Mechanical Tee
6" x 1-1/4" Grooved Mechanical Tee
6" x 1-1/2" Grooved Mechanical Tee
6" x 2" Grooved Mechanical Tee
6" x 2-1/2" Grooved Mechanical Tee
6" x 3" Grooved Mechanical Tee
6" x 4" Grooved Mechanical Tee
8" x 2" Grooved Mechanical Tee
8" x 2-1/2" Grooved Mechanical Tee
8" x 3" Grooved Mechanical Tee
8" x 4" Grooved Mechanical Tee
| Threaded Mechanical Tees | 2" x 1" Threaded Mechanical Tee
2" x 1-1/4" Threaded Mechanical Tee
2" x 1-1/2" Threaded Mechanical Tee
2-1/2" x 1" Threaded Mechanical Tee
2-1/2" x 1-1/4" Threaded Mechanical Tee
2-1/2" x 1-1/2" Threaded Mechanical Tee
3" x 1" Threaded Mechanical Tee
3" x 1-1/4" Threaded Mechanical Tee
3" x 1-1/2" Threaded Mechanical Tee
3" x 2" Threaded Mechanical Tee
4" x 1" Threaded Mechanical Tee
4" x 1-1/4" Threaded Mechanical Tee
4" x 1-1/2" Threaded Mechanical Tee
4" x 2" Threaded Mechanical Tee
4" x 2-1/2" Threaded Mechanical Tee
5" x 1-1/4" Threaded Mechanical Tee
8" x 4" Threaded Mechanical Tee
8" x 3" Threaded Mechanical Tee
8" x 2-1/2" Threaded Mechanical Tee
8" x 2" Threaded Mechanical Tee
8" x 1-1/2" Threaded Mechanical Tee
8" x 1" Threaded Mechanical Tee
6" x 2-1/2" Threaded Mechanical Tee
6" x 2" Threaded Mechanical Tee
6" x 1-1/2" Threaded Mechanical Tee
6" x 1-1/4" Threaded Mechanical Tee
6" x 1" Threaded Mechanical Tee
5" x 2" Threaded Mechanical Tee
| Fire Outlet Threaded Tees | 1-1/4" x 1/2" Fire Outlet Threaded Tee
1-1/4" x 3/4" Fire Outlet Threaded Tee
1-1/4" x 1" Fire Outlet Threaded Tee
1-1/2" x 1/2" Fire Outlet Threaded Tee
1-1/2" x 3/4" Fire Outlet Threaded Tee
1-1/2" x 1" Fire Outlet Threaded Tee
2" x 1/2" Fire Outlet Threaded Tee
2" x 3/4" Fire Outlet Threaded Tee
2" x 1" Fire Outlet Threaded Tee
2-1/2" x 1/2" Fire Outlet Threaded Tee
2-1/2" x 3/4" Fire Outlet Threaded Tee
2-1/2" x 1" Fire Outlet Threaded Tee
Seismic Connections |  | 1" U-Type Seismic Expansion Joint with Grooved Outlet
1-1/4" U-Type Seismic Expansion Joint with Grooved Outlet
1-1/2" U-Type Seismic Expansion Joint with Grooved Outlet
2" U-Type Seismic Expansion Joint with Grooved Outlet
2-1/2" U-Type Seismic Expansion Joint with Grooved Outlet
3" U-Type Seismic Expansion Joint with Grooved Outlet
4" U-Type Seismic Expansion Joint with Grooved Outlet
6" U-Type Seismic Expansion Joint with Grooved Outlet
8" U-Type Seismic Expansion Joint with Grooved Outlet
10" U-Type Seismic Expansion Joint with Grooved Outlet
Grooved Flange Adapter |  | 2" Grooved Flange Adapter
2-1/2" Grooved Flange Adapter
3" Grooved Flange Adapter
4" Grooved Flange Adapter
5" Grooved Flange Adapter
6" Grooved Flange Adapter
8" Grooved Flange Adapter
10" Grooved Flange Adapter
12" Grooved Flange Adapter
Grooved Concentric Reducers |  | 1-1/2" x 1-1/4" Grooved Concentric Reducer
2" x 1" Grooved Concentric Reducer
2" x 1-1/4" Grooved Concentric Reducer
2" x 1-1/2" Grooved Concentric Reducer
2-1/2" x 1-1/4" Grooved Concentric Reducer
2-1/2" x 1" Grooved Concentric Reducer
2-1/2" x 1-1/2" Grooved Concentric Reducer
2-1/2" x 2" Grooved Concentric Reducer
3" x 1-1/4" Grooved Concentric Reducer
3" x 1-1/2" Grooved Concentric Reducer
3" x 2" Grooved Concentric Reducer
3" x 2-1/2" Grooved Concentric Reducer
4" x 2" Grooved Concentric Reducer
4" x 2-1/2" Grooved Concentric Reducer
4" x 3" Grooved Concentric Reducer
5" x 3" Grooved Concentric Reducer
5" x 4" Grooved Concentric Reducer
6" x 2" Grooved Concentric Reducer
6" x 2-1/2" Grooved Concentric Reducer
6" x 3" Grooved Concentric Reducer
6" x 4" Grooved Concentric Reducer
6" x 5" Grooved Concentric Reducer
8" x 4" Grooved Concentric Reducer
8" x 6" Grooved Concentric Reducer
10" x 6" Grooved Concentric Reducer
10" x 8" Grooved Concentric Reducer
12" x 6" Grooved Concentric Reducer
12" x 8" Grooved Concentric Reducer
Threaded Concentric Reducers |  | 6" x 1-1/4" Threaded Concentric Reducer
4" x 1-1/2" Threaded Concentric Reducer
2" x 1-1/2" Threaded Concentric Reducer
2" x 1-1/4" Threaded Concentric Reducer
2" x 1" Threaded Concentric Reducer
1-1/2" x 1-1/4" Threaded Concentric Reducer
1-1/4" x 1" Threaded Concentric Reducer
1-1/2" x 1" Threaded Concentric Reducer
Grooved Eccentric Reducers |  | 3" x 2" Grooved Eccentric Reducer
4" x 2-1/2" Grooved Eccentric Reducer
4" x 3" Grooved Eccentric Reducer
5" x 4" Grooved Eccentric Reducer
Grooved Coupling |  | 1" Flexible Coupling
1-1/4" Flexible Coupling
1-1/2" Flexible Coupling
2-1/2" Flexible Coupling
3" Flexible Coupling
4" Flexible Coupling
5" Flexible Coupling
6" Flexible Coupling
8" Flexible Coupling
10" Flexible Coupling
12" Flexible Coupling
Angle Pad Rigid Coupling
1" Angle Pad Rigid Coupling
1-1/4" Angle Pad Rigid Coupling
1-1/2" Angle Pad Rigid Coupling
2" Angle Pad Rigid Coupling
2-1/2" Angle Pad Rigid Coupling
3" Angle Pad Rigid Coupling
4" Angle Pad Rigid Coupling
5" Angle Pad Rigid Coupling
6" Angle Pad Rigid Coupling
8" Angle Pad Rigid Coupling
10" Angle Pad Rigid Coupling
12" Angle Pad Rigid Coupling
1" Tongue & Grooved Coupling
1-1/4" Tongue & Grooved Coupling
1-1/2" Tongue & Grooved Coupling
2" Tongue & Grooved Coupling
2-1/2" Tongue & Grooved Coupling
3" Tongue & Grooved Coupling
4" Tongue & Grooved Coupling
5" Tongue & Grooved Coupling
6" Tongue & Grooved Coupling
8" Tongue & Grooved Coupling
10" Tongue & Grooved Coupling
12" Tongue & Grooved Coupling
Grooved Reducing Coupling with Steel |  | 2" x 1-1/2" Grooved Reducing Coupling with Steel Ring
2-1/2" x 1-1/4" Grooved Reducing Coupling with Steel Ring
2-1/2" x 1-1/2" Grooved Reducing Coupling with Steel Ring
2-1/2" x 2" Grooved Reducing Coupling with Steel Ring
3" x 1-1/2" Grooved Reducing Coupling with Steel Ring
3" x 2" Grooved Reducing Coupling with Steel Ring
3" x 2-1/2" Grooved Reducing Coupling with Steel Ring
3" x 3" Grooved Reducing Coupling with Steel Ring
4" x 2" Grooved Reducing Coupling with Steel Ring
4" x 2-1/2" Grooved Reducing Coupling with Steel Ring
4" x 3" Grooved Reducing Coupling with Steel Ring
6.5" x 4" Grooved Reducing Coupling with Steel Ring
6" x 4" Grooved Reducing Coupling with Steel Ring
8" x 6" Grooved Reducing Coupling with Steel Ring
Grooved Flanger Adapter Nipples |  | 2" Grooved Flange Adapter Nipple
2-1/2" Grooved Flange Adapter Nipple
3" Grooved Flange Adapter Nipple
4" Grooved Flange Adapter Nipple
5" Grooved Flange Adapter Nipple
6" Grooved Flange Adapter Nipple
8" Grooved Flange Adapter Nipple
10" Grooved Flange Adapter Nipple
12" Grooved Flange Adapter Nipple
Flex Drain Kits |  | 1-1/4" Flex Drain Kit
2" Flex Drain Kit
1" Flex Drain Kit
Fire Protection Air Compressors |  | Fire Protection Air Compressor 1/6HP
Fire Protection Air Compressor 1/3HP
Fire Protection Air Compressor 1/2HP
Fire Protection Air Compressor 3/4HP
Fire Protection Air Compressor 1HP
Fire Protection Air Compressor 1-1/2HP

## Couplings
Flexible Couplings | 25mm Ductile Iron Flexible Screwed Coupling
32mm Ductile Iron Flexible Screwed Coupling
40mm Ductile Iron Flexible Screwed Coupling
50mm Ductile Iron Flexible Screwed Coupling
65mm Ductile Iron Flexible Screwed Coupling
76mm Ductile Iron Flexible Screwed Coupling
80mm Ductile Iron Flexible Screwed Coupling
100mm Ductile Iron Flexible Screwed Coupling
139mm Ductile Iron Flexible Screwed Coupling
150mm Ductile Iron Flexible Screwed Coupling
165mm Ductile Iron Flexible Screwed Coupling
200mm Ductile Iron Flexible Screwed Coupling
250mm Ductile Iron Flexible Screwed Coupling
300mm Ductile Iron Flexible Screwed Coupling
Grooved Reducing Coupling with Steel Rings | 50mm x 40mm Ductile Iron Grooved Reducing Coupling with Steel Ring
65mm x 32mm Ductile Iron Grooved Reducing Coupling with Steel Ring
65mm x 40mm Ductile Iron Grooved Reducing Coupling with Steel Ring
76mm x 40mm Ductile Iron Grooved Reducing Coupling with Steel Ring
76mm x 50mm Ductile Iron Grooved Reducing Coupling with Steel Ring
80mm x 40mm Ductile Iron Grooved Reducing Coupling with Steel Ring
80mm x 50mm Ductile Iron Grooved Reducing Coupling with Steel Ring
80mm x 65mm Ductile Iron Grooved Reducing Coupling with Steel Ring
80mm x 76mm Ductile Iron Grooved Reducing Coupling with Steel Ring
100mm x 50mm Ductile Iron Grooved Reducing Coupling with Steel Ring
100mm x 65mm Ductile Iron Grooved Reducing Coupling with Steel Ring
100mm x 80mm Ductile Iron Grooved Reducing Coupling with Steel Ring
165mm x 100mm Ductile Iron Grooved Reducing Coupling with Steel Ring
150mm x 100mm Ductile Iron Grooved Reducing Coupling with Steel Ring
200mm x 150mm Ductile Iron Grooved Reducing Coupling with Steel Ring
Angle Pad Rigid Couplings | 25mm Ductile Iron Angle Pad Rigid Coupling
32mm Ductile Iron Angle Pad Rigid Coupling
40mm Ductile Iron Angle Pad Rigid Coupling
50mm Ductile Iron Angle Pad Rigid Coupling
65mm Ductile Iron Angle Pad Rigid Coupling
76mm Ductile Iron Angle Pad Rigid Coupling
80mm Ductile Iron Angle Pad Rigid Coupling
100mm Ductile Iron Angle Pad Rigid Coupling
139mm Ductile Iron Angle Pad Rigid Coupling
150mm Ductile Iron Angle Pad Rigid Coupling
165mm Ductile Iron Angle Pad Rigid Coupling
200mm Ductile Iron Angle Pad Rigid Coupling
250mm Ductile Iron Angle Pad Rigid Coupling
300mm Ductile Iron Angle Pad Rigid Coupling
Tounge and Grooved Couplings | 25mm Ductile Iron Tounge and Grooved Coupling
32mm Ductile Iron Tounge and Grooved Coupling
40mm Ductile Iron Tounge and Grooved Coupling
50mm Ductile Iron Tounge and Grooved Coupling
65mm Ductile Iron Tounge and Grooved Coupling
76mm Ductile Iron Tounge and Grooved Coupling
80mm Ductile Iron Tounge and Grooved Coupling
100mm Ductile Iron Tounge and Grooved Coupling
139mm Ductile Iron Tounge and Grooved Coupling
150mm Ductile Iron Tounge and Grooved Coupling
165mm Ductile Iron Tounge and Grooved Coupling
200mm Ductile Iron Tounge and Grooved Coupling
250mm Ductile Iron Tounge and Grooved Coupling
300mm Ductile Iron Tounge and Grooved Coupling
Grooved Tees | 100 mm x 50 mm Ductile Iron Grooved Reducing Tee
100 mm x 65 mm Ductile Iron Grooved Reducing Tee
100 mm x 80 mm Ductile Iron Grooved Reducing Tee
165 mm x 50 mm Ductile Iron Grooved Reducing Tee
165 mm x 76 mm Ductile Iron Grooved Reducing Tee
165 mm x 80 mm Ductile Iron Grooved Reducing Tee
165 mm x 100 mm Ductile Iron Grooved Reducing Tee
150 mm x 50 mm Ductile Iron Grooved Reducing Tee
150 mm x 65 mm Ductile Iron Grooved Reducing Tee
150 mm x 76 mm Ductile Iron Grooved Reducing Tee
150 mm x 80 mm Ductile Iron Grooved Reducing Tee
150 mm x 100 mm Ductile Iron Grooved Reducing Tee
200 mm x 100 mm Ductile Iron Grooved Reducing Tee
200 mm x 150 mm Ductile Iron Grooved Reducing Tee
Grooved Tee Standard Radius | 25 mm Ductile Iron Grooved Tee Standard Radius
32 mm Ductile Iron Grooved Tee Standard Radius
40 mm Ductile Iron Grooved Tee Standard Radius
50 mm Ductile Iron Grooved Tee Standard Radius
65 mm Ductile Iron Grooved Tee Standard Radius
76 mm Ductile Iron Grooved Tee Standard Radius
80 mm Ductile Iron Grooved Tee Standard Radius
100 mm Ductile Iron Grooved Tee Standard Radius
139 mm Ductile Iron Grooved Tee Standard Radius
165 mm Ductile Iron Grooved Tee Standard Radius
150 mm Ductile Iron Grooved Tee Standard Radius
200 mm Ductile Iron Grooved Tee Standard Radius
50 mm Ductile Iron Grooved Tee Short Radius
65 mm Ductile Iron Grooved Tee Short Radius
76 mm Ductile Iron Grooved Tee Short Radius
80 mm Ductile Iron Grooved Tee Short Radius
100 mm Ductile Iron Grooved Tee Short Radius
139 mm Ductile Iron Grooved Tee Short Radius
165 mm Ductile Iron Grooved Tee Short Radius
150 mm Ductile Iron Grooved Tee Short Radius
200 mm Ductile Iron Grooved Tee Short Radius
250 mm Ductile Iron Grooved Tee Short Radius
300 mm Ductile Iron Grooved Tee Short Radius
50mm Ductile Iron Grooved Cross Short Radius
80mm Ductile Iron Grooved Cross Short Radius
100mm Ductile Iron Grooved Cross Short Radius
150mm Ductile Iron Grooved Cross Short Radius
200mm Ductile Iron Grooved Cross Short Radius
250mm Ductile Iron Grooved Cross Short Radius
300mm Ductile Iron Grooved Cross Short Radius
50mm Ductile Iron Grooved Flange
65mm Ductile Iron Grooved Flange
80mm Ductile Iron Grooved Flange
100mm Ductile Iron Grooved Flange
150mm Ductile Iron Grooved Flange
200mm Ductile Iron Grooved Flange
250mm Ductile Iron Grooved Flange
300mm Ductile Iron Grooved Flange
Flange Adaptors | 50mm Ductile Iron Flange Adaptor
65mm Ductile Iron Flange Adaptor
80mm Ductile Iron Flange Adaptor
100mm Ductile Iron Flange Adaptor
150mm Ductile Iron Flange Adaptor
200mm Ductile Iron Flange Adaptor
32mm U Bolt Threaded Mecahnical Tee FNPT

## Nozzles -Cracked
Hose Nozzles | Branch Pipes | Short Branch Pipes | Gunmetal Short Branch Pipes | 2.5" Short Branch Pipe GM-6mm
2.5" Short Branch Pipe GM-12mm
2.5" Short Branch Pipe GM-15mm
2.5" Short Branch Pipe GM-16mm
2.5" Short Branch Pipe GM-20mm
2.5" Short Branch Pipe GM-25mm
2.5" Short Branch Pipe SS-6mm
2.5" Short Branch Pipe SS-12mm
2.5" Short Branch Pipe SS-15mm
2.5" Short Branch Pipe SS-16mm
2.5" Short Branch Pipe SS-20mm
2.5" Short Branch Pipe SS-25mm
2.5" Short Branch Pipe AL-6mm
2.5" Short Branch Pipe AL-12mm
2.5" Short Branch Pipe AL-15mm
2.5" Short Branch Pipe AL-16mm
2.5" Short Branch Pipe AL-20mm
2.5" Short Branch Pipe AL-25mm
|  | Long Branch Pipes |  | 2.5" Long Branch Pipe GM-6mm
2.5" Long Branch Pipe GM-12mm
2.5" Long Branch Pipe GM-15mm
2.5" Long Branch Pipe GM-16mm
2.5" Long Branch Pipe GM-20mm
2.5" Long Branch Pipe GM-25mm
2.5" Long Branch Pipe SS-6mm
2.5" Long Branch Pipe SS-12mm
2.5" Long Branch Pipe SS-15mm
2.5" Long Branch Pipe SS-16mm
2.5" Long Branch Pipe SS-20mm
2.5" Long Branch Pipe SS-25mm
2.5" Long Branch Pipe AL-6mm
2.5" Long Branch Pipe AL-12mm
2.5" Long Branch Pipe AL-15mm
2.5" Long Branch Pipe AL-16mm
2.5" Long Branch Pipe AL-20mm
2.5" Long Branch Pipe AL-25mm
|  | Triple Action Branch Pipes |  | 2.5" Triple Action Branch Pipe GM
2.5" Triple Action Branch Pipe SS
2.5" Triple Action Branch Pipe AL
|  | Revolving Branch Pipes |  | 2.5" Revolving Branch Pipe SS
2.5" Revolving Branch Pipe GM
|  | Navy Diffusers |  | 2.5" Navy Diffuser GM
2.5" Navy Diffuser SS
2.5" Navy Diffuser AL
Curtain Nozzles

## Hose Reels & Cabinets
Instantaneous Couplings |  | 2.5" MSSe Inst. X 1.5" Hose Tail Multi-Serrated GM Instantaneous Coupling
2.5" MSSe Inst. X 1.75" Hose Tail Multi-Serrated GM Instantaneous Coupling
2.5" MSSe Inst. X 2" Hose Tail Multi-Serrated GM Instantaneous Coupling
2.5" MSSe Inst. X 2.5" Hose Tail Multi-Serrated GM Instantaneous Coupling
2.5" MSSe Inst. X 2.75" Hose Tail Multi-Serrated GM Instantaneous Coupling
2.5" MSSe Inst. X 1.5" Hose Tail Multi-Serrated SS Instantaneous Coupling
2.5" MSSe Inst. X 1.75" Hose Tail Multi-Serrated SS Instantaneous Coupling
2.5" MSSe Inst. X 2" Hose Tail Multi-Serrated SS Instantaneous Coupling
2.5" MSSe Inst. X 2.5" Hose Tail Multi-Serrated SS Instantaneous Coupling
2.5" MSSe Inst. X 2.75" Hose Tail Multi-Serrated SS Instantaneous Coupling
2.5" MSSe Inst. X 1.5" Hose Tail Multi-Serrated SS Instantaneous Coupling
2.5" MSSe Inst. X 1.75" Hose Tail Multi-Serrated SS Instantaneous Coupling
2.5" MSSe Inst. X 2" Hose Tail Multi-Serrated SS Instantaneous Coupling
2.5" MSSe Inst. X 2.5" Hose Tail Multi-Serrated SS Instantaneous Coupling
2.5" MSSe Inst. X 2.75" Hose Tail Multi-Serrated SS Instantaneous Coupling
American Log Couplings |  | 1.5" dia x 1.5" tail GM American Log Coupling
1.5" dia x 1.75" tail GM American Log Coupling
2.5" dia x 1.5" tail GM American Log Coupling
2.5" dia x 1.75" tail GM American Log Coupling
2.5" dia x 2" tail GM American Log Coupling
2.5" dia x 2.5" tail GM American Log Coupling
2.5" dia x 2.75" tail GM American Log Coupling
1.5" dia x 1.5" tail SS American Log Coupling
1.5" dia x 1.75" tail SS American Log Coupling
2.5" dia x 1.5" tail SS American Log Coupling
2.5" dia x 1.75" tail SS American Log Coupling
2.5" dia x 2" tail SS American Log Coupling
2.5" dia x 2.5" tail SS American Log Coupling
2.5" dia x 2.75" tail SS American Log Coupling
Russian Gost Couplings |  | Gost 50 x 38mm Hose tail GM Russian Gost Coupling
Gost 50 x 52mm Hose tail GM Russian Gost Coupling
Gost 70 x 38mm Hose tail GM Russian Gost Coupling
Gost 70 x 52mm Hose tail GM Russian Gost Coupling
Gost 70 x 64mm Hose tail GM Russian Gost Coupling
Gost 80 x 64mm Hose tail GM Russian Gost Coupling
Gost 80 x 75mm Hose tail GM Russian Gost Coupling
Storz Couplings |  | GM Storz Coupling for 1.5" Hose
GM Storz Coupling for 2" Hose
GM Storz Coupling for 2.5" Hose
GM Storz Coupling for 3" Hose
GM Storz Coupling for 4" Hose
GM Storz Coupling for 5" Hose
GM Storz Coupling for 6" Hose
SS Storz Coupling for 1.5" Hose
SS Storz Coupling for 2" Hose
SS Storz Coupling for 2.5" Hose
SS Storz Coupling for 3" Hose
SS Storz Coupling for 4" Hose
SS Storz Coupling for 5" Hose
SS Storz Coupling for 6" Hose
Suction Couplings |  | 3" GM Suction Coupling
4" GM Suction Coupling
5" GM Suction Coupling
5.5" GM Suction Coupling
3" SS Suction Coupling
4" SS Suction Coupling
5" SS Suction Coupling
5.5" SS Suction Coupling
End Caps |  | 1.5" GM MSSe Instantaneous Blank Cap
2.5" GM MSSe Instantaneous Blank Cap
2.5" SS MSSe Instantaneous Blank Cap
2.5"SS MSSe Instantaneous Blank Cap
2.5" ABS MSSe Instantaneous Blank Cap
2.5" PVC MSSe Instantaneous Blank Cap
4" GM FemSSe BSRT Blank Cap
5" GM FemSSe BSRT Blank Cap
5.5" GM FemSSe BSRT Blank Cap
1.5" GM FemSSe Instantaneous Blank Cap
2.5" GM FemSSe Instantaneous Blank Cap
1.5" GM Storz Blank Gap
2.5" GM Storz Blank Gap
Instantaneous Adaptors |  | 1.5" GM MSSe Instantaneous Adaptor
2.5" GM MSSe Instantaneous Adaptor
1.5" GM FemSSe Instantaneous Adaptor
2.5" GM FemSSe Instantaneous Adaptor
1.5" SS MSSe Instantaneous Adaptor
2.5" SS MSSe Instantaneous Adaptor
1.5" SS FemSSe Instantaneous Adaptor
2.5" SS FemSSe Instantaneous Adaptor
1.5" GM BSP Threaded Adaptor
2.5" GM BSP Threaded Adaptor
1.5" GM NST Threaded Adaptor
2.5" GM NST Threaded Adaptor
1.5" GM NH MSSe Threaded Adaptor
2.5" GM NH MSSe Threaded Adaptor
1.5" GM NH MSSe Threaded Adaptor
2.5" GM NH MSSe Threaded Adaptor
2.5" GM Collecting Breech
3" GM Collecting Breech
4" GM Collecting Breech
2.5" SS Collecting Breech
3" SS Collecting Breech
4" SS Collecting Breech
2.5" SS Collecting Breech
2.5" GM Dividing Breech
3" GM Dividing Breech
4" GM Dividing Breech
2.5" SS Dividing Breech
3" SS Dividing Breech
4" SS Dividing Breech
2.5" SS Dividing Breech
|  | 1.5" GM Dividing Breech | AL/SS
2" GM Dividing Breech
| Controlled Dividing | 2.5" GM Controlled Dividing Breech with Ball Valve
2.5" SS Controlled Dividing Breech with Ball Valve
2.5" AL Controlled Dividing Breech with Ball Valve
2.5" GM Controlled Dividing Breech with Screw Down Type
2.5" SS Controlled Dividing Breech with Screw Down Type
2.5" AL Controlled Dividing Breech with Screw Down Type

## Valves
Wafer Type Butterfly Valve | 2" Wafer Type Butterfly Valve
2.5" Wafer Type Butterfly Valve
3" Wafer Type Butterfly Valve
3.5" Wafer Type Butterfly Valve
4" Wafer Type Butterfly Valve
5" Wafer Type Butterfly Valve
6" Wafer Type Butterfly Valve
6.5" Wafer Type Butterfly Valve
8" Wafer Type Butterfly Valve
10" Wafer Type Butterfly Valve
12" Wafer Type Butterfly Valve
6.5" Wafer Type Butterfly Valve
Ball Valves

## Miscelaneous Equipments
Hose Ramps | Reinforced Solid Rubber Hose Ramp
2.5" Male Inst. AL Hose Washing Machine
Manual Hose Binding Machine
Electric Hose Binding Machine
Steel Hose Coiler
Smoke Extractors & Blowers | Water Driven Positive Pressure Ventilators

## Flow Switches
FSBS Flow Switch Bypass Switch
Vane Type Waterflow Alarm Switch with Retard | 2" Vane Type Waterflow Alarm Switch with Retard
2.5" Vane Type Waterflow Alarm Switch with Retard
3" Vane Type Waterflow Alarm Switch with Retard
4" Vane Type Waterflow Alarm Switch with Retard
5" Vane Type Waterflow Alarm Switch with Retard
6" Vane Type Waterflow Alarm Switch with Retard
8" Vane Type Waterflow Alarm Switch with Retard
Vane Type Autotest Waterflow Alarm Switch with Electronic Retard | 2" Vane Type Autotest Waterflow Alarm Switch with Electronic Retard
2.5" Vane Type Autotest Waterflow Alarm Switch with Electronic Retard
3" Vane Type Autotest Waterflow Alarm Switch with Electronic Retard
4" Vane Type Autotest Waterflow Alarm Switch with Electronic Retard
5" Vane Type Autotest Waterflow Alarm Switch with Electronic Retard
6" Vane Type Autotest Waterflow Alarm Switch with Electronic Retard
8" Vane Type Autotest Waterflow Alarm Switch with Electronic Retard
Vane Type Explosion Proof Waterflow Switch | 2" Vane Type Explosion Proof Waterflow Switch
2.5" Vane Type Explosion Proof Waterflow Switch
3" Vane Type Explosion Proof Waterflow Switch
4" Vane Type Explosion Proof Waterflow Switch
5" Vane Type Explosion Proof Waterflow Switch
6" Vane Type Explosion Proof Waterflow Switch
8" Vane Type Explosion Proof Waterflow Switch
Corrosion Resistant Vane Type Waterflow Alarm Switch with Retard | 2" Corrosion Resistant Vane Type Waterflow Alarm Switch with Retard
2.5" Corrosion Resistant Vane Type Waterflow Alarm Switch with Retard
3" Corrosion Resistant Vane Type Waterflow Alarm Switch with Retard
3.5" Corrosion Resistant Vane Type Waterflow Alarm Switch with Retard
4" Corrosion Resistant Vane Type Waterflow Alarm Switch with Retard
5" Corrosion Resistant Vane Type Waterflow Alarm Switch with Retard
6" Corrosion Resistant Vane Type Waterflow Alarm Switch with Retard
8" Corrosion Resistant Vane Type Waterflow Alarm Switch with Retard
10" Corrosion Resistant Vane Type Waterflow Alarm Switch with Retard
Vane Type Waterflow Alarm Switch for Small Pipes | 1" Vane Type Waterflow Alarm Switch
1.25" Vane Type Waterflow Alarm Switch
1.5" Vane Type Waterflow Alarm Switch
2" Vane Type Waterflow Alarm Switch
Vane Type Waterflow Alarm with Glue-in Union | 1" Vane Type Waterflow Alarm with Glue-in Union
1.25" Vane Type Waterflow Alarm with Glue-in Union
1.5" Vane Type Waterflow Alarm with Glue-in Union
2" Vane Type Waterflow Alarm with Glue-in Union
Vane Type Waterflow Alarm Switch with Union | 1" Vane Type Waterflow Alarm Switch with Union
1-1/4" Vane Type Waterflow Alarm Switch with Union
1-1/2" Vane Type Waterflow Alarm Switch with Union
2" Vane Type Waterflow Alarm Switch with Union
Vane Type Waterflow Switch for Copper Pipes | 2" Vane Type Waterflow Switch for Copper Pipe
2-1/2" Vane Type Waterflow Switch for Copper Pipe
3" Vane Type Waterflow Switch for Copper Pipe
4" Vane Type Waterflow Switch for Copper Pipe
Waterflow Alarm Switch for Low Flow | 2" Vane Type Waterflow Alarm Switch for Low Flow
2-1/2" Vane Type Waterflow Alarm Switch for Low Flow
3" Vane Type Waterflow Alarm Switch for Low Flow
4" Vane Type Waterflow Alarm Switch for Low Flow
Pressure Type Waterflow Switch | Pressure Actuated Switches
Residential Risers | 1" Residential Riser
1-1/4" Residential Riser
1-1/2" Residential Riser
2" Residential Riser
Vane Type Waterflow Switch without Retard | 1" Vane Type Waterflow Switch without Retard
1-1/4" Vane Type Waterflow Switch without Retard
1-1/2" Vane Type Waterflow Switch without Retard
2" Vane Type Waterflow Switch without Retard
Supervisory Switches | Wireless Supervisory System
Solenoid Supervisory Switch
Outdoor Explosion Proof Post Indicator and Butterfly Valve Supervisory Switch
Outside Screw and Yoke Valve Supervisory Switch
Control Valve Supervisory Switch
Outside Screw and Yoke Valve Supervisory Switch
PLUG TYPE SUPERVISORY SWITCH
Tank Water Level Switch
Room Temperature Switch
Universal Ball Valve/Solenoid Coil Supervisory Switch
TANK TEMPERATURE SUPERVISORY SWITCH
PLUG TYPE SUPERVISORY SWITCH
3/4" BALL VALVE WITH SUPERVISORY SWITCH
1/2" BALL VALVE WITH SUPERVISORY SWITCH
1" BALL VALVE WITH SUPERVISORY SWITCH
1/2" Watercolumn Switch
3/4" Watercolumn Switch
Nitrogen Air Maintenance Device
Supervisory Pressure Switch
LEVER TYPE BLEEDER VALVE
DIFFERENTIAL PRESSURE SWITCH
Adjustable Deadband Pressure Switch
PUMP CONTROL SWITCH
Leak Rate Monitors
2.5 x 350 mm
Welding Rods | 3.15 x 450 mm
4.0 x 450 mm
5.0 x 450 mm
Fire Sprinkler Flexible Drops | 28" (1/2") Fire Sprinkler Flexible Drop Hose Braided
40" (1/2") Fire Sprinkler Flexible Drop Hose Braided
48" (1/2") Fire Sprinkler Flexible Drop Hose Braided
60" (1/2") Fire Sprinkler Flexible Drop Hose Braided
72" (1/2") Fire Sprinkler Flexible Drop Hose Braided
28" (3/4") Fire Sprinkler Flexible Drop Hose Braided
40" (3/4") Fire Sprinkler Flexible Drop Hose Braided
48" (3/4") Fire Sprinkler Flexible Drop Hose Braided
60" (3/4") Fire Sprinkler Flexible Drop Hose Braided
72" (3/4") Fire Sprinkler Flexible Drop Hose Braided
28" (1/2") Fire Sprinkler Flexible Drop Hose Unbraided
40" (1/2") Fire Sprinkler Flexible Drop Hose Unbraided
48" (1/2") Fire Sprinkler Flexible Drop Hose Unbraided
60" (1/2") Fire Sprinkler Flexible Drop Hose Unbraided
72" (1/2") Fire Sprinkler Flexible Drop Hose Unbraided
28" (3/4") Fire Sprinkler Flexible Drop Hose Unbraided
40" (3/4") Fire Sprinkler Flexible Drop Hose Unbraided
48" (3/4") Fire Sprinkler Flexible Drop Hose Unbraided
60" (3/4") Fire Sprinkler Flexible Drop Hose Unbraided
72" (3/4") Fire Sprinkler Flexible Drop Hose Unbraided

## Fire Extinguishers
Portable Pressure Type | Stored Pressure Type | ABC Powder Type | ABC Powder Type Fire Extinguisher-1kg
ABC Powder Type Fire Extinguisher-2kg
ABC Powder Type Fire Extinguisher-4kg
ABC Powder Type Fire Extinguisher-6kg
ABC Powder Type Fire Extinguisher-9kg
|  | BC Powder Type | BC Powder Type Fire Extinguisher-1kg
BC Powder Type Fire Extinguisher-2kg
BC Powder Type Fire Extinguisher-4kg
BC Powder Type Fire Extinguisher-6kg
BC Powder Type Fire Extinguisher-9kg
|  | Water Type | Water Type Fire Extinguisher-2ltr
Water Type Fire Extinguisher-6ltr
Water Type Fire Extinguisher-9ltr
|  | Mechanical Foam (AFFF) Type | Mechanical Foam (AFFF) Type Fire Extinguisher-9ltr
|  | Mechanical Foam (AR-AFFF) Type | Mechanical Foam (AR-AFFF) Type Fire Extinguisher-9ltr
|  | Clean Agent Type | Clean Agent Type Fire Extinguisher-1kg
Clean Agent Type Fire Extinguisher-2kg
Clean Agent Type Fire Extinguisher-4kg
Clean Agent Type Fire Extinguisher-6kg
Clean Agent Type Fire Extinguisher-9kg
|  | Wet Chemical (F-Class) Type | Wet Chemical (F-Class) Type-1ltr
Wet Chemical (F-Class) Type-2ltr
Wet Chemical (F-Class) Type-4ltr
Wet Chemical (F-Class) Type-6ltr
Wet Chemical (F-Class) Type-9ltr
| Gas Catridge Type | ABC Powder Type | ABC Powder Gas Catridge Type Fire Extinguisher-4kg
ABC Powder Gas Catridge Type Fire Extinguisher-6kg
ABC Powder Gas Catridge Type Fire Extinguisher-9kg
|  | BC Powder Type | BC Powder Gas Cartridge Type Fire Extinguisher-4kg
BC Powder Gas Cartridge Type Fire Extinguisher-6kg
BC Powder Gas Cartridge Type Fire Extinguisher-9kg
|  | Water Type | Water Gas Cartridge Type Fire Extinguisher-9ltr
|  | Mechanical Foam (AFFF) Type | Mechanical Foam (AFFF) Gas Cartridge Type Fire Extinguisher-9ltr
Mechanical Foam (AR-AFFF) Gas Cartridge Type Fire Extinguisher-9ltr
| CO2 Type Fire Extinguishers | MS Body CO2 Type Fire Extinguisher | CO2 Type MS Body Fire Extinguisher-2kg
CO2 Type MS Body Fire Extinguisher-3kg
CO2 Type MS Body Fire Extinguisher-3.5kg
|  | AL Body CO2 Type Fire Extinguishers | CO2 Type AL Body Fire Extinguisher-2kg
CO2 Type AL Body Fire Extinguisher-3.5kg
Mobile Fire Extinguishers | Dry Powder Mobile Type | ABC Dry Powder Mobile Type | ABC Dry Powder Mobile Type Fire Extinguisher-25kg
ABC Dry Powder Mobile Type Fire Extinguisher-50kg
ABC Dry Powder Mobile Type Fire Extinguisher-75kg
|  | BC Dry Powder Mobile Type | BC Dry Powder Mobile Type Fire Extinguisher-25kg
BC Dry Powder Mobile Type Fire Extinguisher-50kg
BC Dry Powder Mobile Type Fire Extinguisher-75kg
| Water & Foam Mobile Type | Water Mobile Type | Water Mobile Type Fire Extinguisher-20ltr
Water Mobile Type Fire Extinguisher-60ltr
|  | Mechanical Foam Type | Mechanical Foam (AFFF) Mobile Type Fire Extinguisher-20ltr
Mechanical Foam (AFFF) Mobile Type Fire Extinguisher-60tr
| CO2 Mobile Type |  | CO2 Mobile Type Fire Extinguisher-6.5kg
CO2 Mobile Type Fire Extinguisher-9kg
CO2 Mobile Type Fire Extinguisher-22.5kg
Ceiling Mounted Fire Extinguishers | Dry Powder Ceiling Mounted Type | ABC Powder Ceiling Mounted Type | ABC Powder Ceiling Mounted Type Fire Extinguisher-5kg
ABC Powder Ceiling Mounted Type Fire Extinguisher-10kg
|  | Clean Agent Ceiling Mounted Type | Clean Agent Ceiling Mounted Type Fire Extinguisher-5kg
Clean Agent Ceiling Mounted Type Fire Extinguisher-6kg
Clean Agent Ceiling Mounted Type Fire Extinguisher-10kg
Clean Agent Ceiling Mounted Type Fire Extinguisher-12kg
Portable Water Mist/CAFs Backpack | Foam Based Water Mist Fire Extinguisher-9L
CAFs Backpack Fire Extinguisher-9L
Kitchen Hood Fire Suppression System
Enclosure Cabinets to House Extinguisher-6kg
Enclosure Cabinets to House Extinguisher-9kg
Enclosure Cabinets to House Extinguisher-12kg
Cutting Edge Fire Extinguisher-1kg
Cutting Edge Fire Extinguisher-2kg
Fire Sand Buckets | MS Fire Sand Bucket

## Ravel India
Gas Suppression Systems | Gass Suppression Panels | 2 Zone Agent Release Panels | 2 Zone Agent Release Panel
|  | 4 Zone Agent Release Panels | 4 Zone Agent Release Panel
|  | Repeater Panels | Repeater Panel
| Manual Activating Devices | Emergency Releases
| Networking Devices | Interface Modules | Gas Suppression Inteface Module
Public Addressable Systems | Main Consoles | Digital Alarm & Voice Evacuation Systems | Digital Alarm & Voice Evacuation System
|  | Zone PA Main Consoles | 1-16 Zone PA Main Console-125W
1-16 Zone PA Main Console-250W
| Expanders | Zone PA Expander | 17-32 Zone PA Expander
33-48 Zone PA Expander
49-64 Zone PA Expander
65-80 Zone PA Expander
81-96 Zone PA Expander
97-112 Zone PA Expander
113-128 Zone PA Expander
Fireman Telephone Systems | Fire Fighter Telephones | Fire Fighter Telephone
Fireman Phone Jack
Fireman Telephone Handset
| Fireman Jacks | Fireman Telephone Jack

## Ases
PA and Talkback Systems | PA Console | PA Console 1-16 Zone
PA Console 17-32 Zone
| Pava Consoles | Paging Stations | Paging Station
|  | PAVA Controller | PAVA Controller 1-16 Zone
PAVA Controller 1-8 Zone
| PATB Consoles |  | PATB Console 1-16 Zone
PATB Console 25-32 Zone
| PAVA TB Consoles |  | PAVA TB Console 1-16 Zone
| PA Speakers | PA Ceiling Speakers | 6W PA Ceiling Speaker
10W PA Ceiling Speaker
|  | PA Wall Speakers | 10W PA Wall Speaker
12W PA Wall Speaker
20W PA Wall Speaker
|  | Bi-Direction Projection Speakers | 30W Bi-Direction Projection Speaker
|  | PA Horn Speakers | PA Horn Speaker
| Amplifiers for PA Systems |  | 120W Amplifier for PA System
125W Amplifier for PA System
250W Amplifier for PA System
350W Amplifier for PA System
500W Amplifier for PA System
| Talkback Slave Units |  | Fireman Telephone Handset
MS Talkback Jack
| Talkback Control Panels |  | Contrl Panel for Fireman Telephone System
Exit Lights & Signages | Emergency Spot Lights | 12W Emergency Spot Light
| Exit ABS Type Lights | Exit ABS Type Light
Signages | Fire Equipment Signages | Fire Equipment Signage

## Conventional Fire Systems
Detectors | Smoke Detectors | Conventional Photoelectric Smoke Detector with Base
Conventional Heat Detector
Conventional Stand Alone Photo Electric Smoke Detector with base
Conventional Photoelectric Multi Detector with Base
Conventional Carbon Monoxide (CO) Gas Alarm Sensor
Conventional LPG Gas Detector
Conventional Duct Smoke Detector
Conventional 4 wire Smoke Detector
Conventional Natural Gas ( Methane) Detector
Manual Call Points (MCPs) |  | Conventional Manual Call Point
Manual Pull Stations | Manual Pull Stations Single Action (SA) | Manual Pull Station Single Action (SA)
| Manual Pull Stations Double Action (DA) | Manual Pull Station Double Action (DA)
Notification Devices | Sounder cum Strobes | Conventional ABS Plastic Sounder Cum Strobe
| Electric Siren | Conventional Electric Siren 1km
| Sounder cum Speakers | Conventional MS Sounder cum Speaker
| Conventional Sounders | Conventional ABS Plastic Sounder
| Response Indicators | Conventional 2-wire ABS Response Indicator Detector
Networking Devices | GSM Voice Dialers | GSM Voice Dialer
| TCP/IP Modules | Addressable Ethernet Module (TCP/IP)
| Modbus Convertors | Conventioanl Modbus Convertor

## Addressable
Addressable Fire Alarm Systems | Single Loop Control Systems | Panels | Single Loop Addressable Panels | Single Loop Analogue Addressable Fire Alarm Panel
|  |  | Repeater Panels | Analogue Addressable Fire Alarm Repeater Panel
|  | Detectors | Multi Detectors | Addressable Photo Electric Multi Detector with Base
Addressable Photo Electric Smoke Detector with Base
Analogue Addressable Heat Detector

## 1
Valves | Ball Valves | SS Ball Valves | SS Ball Valve Full Bore | 1/2" SS Ball Valve 3-Piece (Screwed)
3/4" SS Ball Valve 3-Piece (Screwed)
1" SS Ball Valve 3-Piece (Screwed)
1-1/4" SS Ball Valve 3-Piece (Screwed)
1-1/2" SS Ball Valve 3-Piece (Screwed)
2" SS Ball Valve 3-Piece (Screwed)

## Butterfly Valves
Butterfly Valves | Wafer Type Butterfly Valves | Cast Iron Wafer Type Butterfly Valves | 1-1/2" CI Wafer Type Butterfly Valve
2" CI Wafer Type Butterfly Valve
2-1/2" CI Wafer Type Butterfly Valve
3" CI Wafer Type Butterfly Valve
4" CI Wafer Type Butterfly Valve
5" CI Wafer Type Butterfly Valve
6" CI Wafer Type Butterfly Valve
8" CI Wafer Type Butterfly Valve
10" CI Wafer Type Butterfly Valve
12" CI Wafer Type Butterfly Valve
14" CI Wafer Type Butterfly Valve
16" CI Wafer Type Butterfly Valve
|  | Cast Iron Wafer Type Butterfly Valves-Gear Opearted | 1-1/2" CI Wafer Type Butterfly Valve-Gear Operated
2" CI Wafer Type Butterfly Valve-Gear Operated
2-1/2" CI Wafer Type Butterfly Valve-Gear Operated
3" CI Wafer Type Butterfly Valve-Gear Operated
4" CI Wafer Type Butterfly Valve-Gear Operated
5" CI Wafer Type Butterfly Valve-Gear Operated
6" CI Wafer Type Butterfly Valve-Gear Operated
8" CI Wafer Type Butterfly Valve-Gear Operated
10" CI Wafer Type Butterfly Valve-Gear Operated
12" CI Wafer Type Butterfly Valve-Gear Operated
14" CI Wafer Type Butterfly Valve-Gear Operated
16" CI Wafer Type Butterfly Valve-Gear Operated

## Valves Final
Hose Reels & Cabinets | Fixed Type Hose Reel | 3/4" Red Powder Coated Fixed Hose Reel
1" Red Powder Coated Fixed Hose Reel
1-1/2" Red Powder Coated Fixed Hose Reel
| Swing Type Hose Reel | 3/4" Red Powder Coated Swing Hose Reel
1" Red Powder Coated Swing Hose Reel
1-1/2" Red Powder Coated Swing Hose Reel
| Stand Mounted Hose Reels | 3/4" Red Powder Coated Stand Mount Hose Reel
1" Red Powder Coated Stand Mount Hose Reel
1-1/2" Red Powder Coated Stand Mount Hose Reel
| Hose Reel with Foam Station | 3/4" Hose Reel with Foam Station
1" Hose Reel with Foam Station
1-1/2" Hose Reel with Foam Station
Hose Reel Cabinets | Hose Reel Cabinet | Wall Mounted House Reel Cabinet
Wall Mounted Dry Riser Inlet Cabinet
| Single Hose Cabinets | FRP Single Hose Cabinets | FRP Single Hose Cabinet Wall Mounting Type
FRP Single Hose Cabinet Self Standing Type
|  | CRCA Sheet Single Hose Cabinets | CRCA Sheet Single Hose Cabinet Wall Mounting Type

## Sprinkler
Alarm Check Valves | 4" Alarm Check Valve
6" Alarm Check Valve
Sprinklers | Quick Response Sprinklers | Glass Bulb Element Quick Response Sprinkler | Upright Sprinklers Quick Response | 1/2" NPT Quick Response Upright Sprinkler
|  |  | Conventional Sprinklers Quick Response | 1/2" NPT Quick Response Conventional Sprinkler
3/4" NPT Quick Response Conventional Sprinkler
|  |  | Pendent Sprinklers Quick Response | 1/2" NPT Quick Response Pendent Sprinkler
3/4" NPT Quick Response Pendent Sprinkler
|  |  | Sidewall Sprinklers Quick Response | 1/2 " NPT Quick Response Sidewall Sprinkler
3/4 " NPT Quick Response Sidewall Sprinkler
|  | Fusible Element Quick Response Sprinkler | Upright Sprinklers Quick Response | 1/2" NPT Quick Response Upright Sprinkler - Fusible Link
3/4" NPT Quick Response Upright Sprinkler - Fusible Link
|  |  | Pendent Sprinkler Quick Response | 1/2" NPT Quick Response Pendent Sprinkler- Fusible Link
3/4" NPT Quick Response Pendent Sprinkler- Fusible Link
|  |  | Horizontal Sidewall quick Response | 1/2" NPT Quick Response Horizontal Sidewall Sprinkler-Fusible Link
|  |  | Vertical Sidewall Quick Response | 1/2" NPT Quick Response Vertical Sidewall Sprinkler-Fusible Link
|  |  | Conventional Sprinklers Quick Response | 1/2" NPT Quick Response Conventional Sprinkler-Fusbile Link

## FireFly
Fire Pumps | Multi-Stage Mutli-Outlet Fire Pumps | Multi-Stage Mutli-Outlet Fire Pump
| Horizontal Split Case Engine Driven Fire Pumps | Horizontal Spilt Case Engine Drive Fire Pump
| Horizontal Split Case Motor Driven Fire Pumps | Horizontal Split Case Motor Driven Fire Pump
| Closed Coupled End-Suction Fire Booster Pumps | Closed Coupled End-Suction Fire Booster Pump
| Submerged Centrifugal Fire Pumpset | Submerged Centrifugal Fire Pumpset
| End Suction Diesel Driven Fire Pumps | End Suction Diesel Driven Fire Pump
| End Suction Motor Driven Fire Pumps | End Suction Motor Driven Fire Pump
Vertical Turbine Fire Pump
Slucie Valves | Cast Iron Slucie Valves | 2" Cast Iron (C.I) Slucie Valve Flanged
2-1/2" Cast Iron (C.I) Slucie Valve Flanged
3" Cast Iron (C.I) Slucie Valve Flanged
4" Cast Iron (C.I) Slucie Valve Flanged
6" Cast Iron (C.I) Slucie Valve Flanged
8" Cast Iron (C.I) Slucie Valve Flanged
10" Cast Iron (C.I) Slucie Valve Flanged
12" Cast Iron (C.I) Slucie Valve Flanged
14" Cast Iron (C.I) Slucie Valve Flanged
16" Cast Iron (C.I) Slucie Valve Flanged
18" Cast Iron (C.I) Slucie Valve Flanged
20" Cast Iron (C.I) Slucie Valve Flanged
24" Cast Iron (C.I) Slucie Valve Flanged
| Ductile Iron Slucie Valves | 2" Ductile Iron (D.I) Slucie Valve Flanged
2-1/2" Ductile Iron (D.I) Slucie Valve Flanged
3" Ductile Iron (D.I) Slucie Valve Flanged
4" Ductile Iron (D.I) Slucie Valve Flanged
6" Ductile Iron (D.I) Slucie Valve Flanged
8" Ductile Iron (D.I) Slucie Valve Flanged
10" Ductile Iron (D.I) Slucie Valve Flanged
12" Ductile Iron (D.I) Slucie Valve Flanged
Non-Return Valves | C.I Non-Return Valves | 2" C.I Non-Return Valve Flanged
2-1/2" C.I Non-Return Valve Flanged
3" C.I Non-Return Valve Flanged
4" C.I Non-Return Valve Flanged
5" C.I Non-Return Valve Flanged
6" C.I Non-Return Valve Flanged
8" C.I Non-Return Valve Flanged
10" C.I Non-Return Valve Flanged
12" C.I Non-Return Valve Flanged
| C.I Non-Return Valves with By-Pass Arrangement | 2" C.I Non-Return Valve Flanged with Bye Pass Arrangement
2-1/2" C.I Non-Return Valve Flanged with Bye Pass Arrangement
3" C.I Non-Return Valve Flanged with Bye Pass Arrangement
4" C.I Non-Return Valve Flanged with Bye Pass Arrangement
5" C.I Non-Return Valve Flanged with Bye Pass Arrangement
6" C.I Non-Return Valve Flanged with Bye Pass Arrangement
8" C.I Non-Return Valve Flanged with Bye Pass Arrangement
10" C.I Non-Return Valve Flanged with Bye Pass Arrangement
12" C.I Non-Return Valve Flanged with Bye Pass Arrangement
Butterfly Valves
Ball Valves | Fronze Ball Valves (Screwed) | 1/2" Bronze Ball Valve Screwed
3/4" Bronze Ball Valve Screwed
1" Bronze Ball Valve Screwed
1-1/4" Bronze Ball Valve Screwed
1-1/2" Bronze Ball Valve Screwed
2" Bronze Ball Valve Screwed
2-1/2" Bronze Ball Valve Screwed
3" Bronze Ball Valve Screwed
4" Bronze Ball Valve Screwed
| Forged Brass Ball Valves (Screwed) | 1/4" Forged Brass Ball Valve Screwed
3/8" Forged Brass Ball Valve Screwed
1/2" Forged Brass Ball Valve Screwed
3/4" Forged Brass Ball Valve Screwed
1" Forged Brass Ball Valve Screwed
1-1/4" Forged Brass Ball Valve Screwed
1-1/2" Forged Brass Ball Valve Screwed
2" Forged Brass Ball Valve Screwed
2-1/2" Forged Brass Ball Valve Screwed
3" Forged Brass Ball Valve Screwed
4" Forged Brass Ball Valve Screwed
Check Valves |  | 1-1/2" CI Dual Plate Wafer Type Check Valve
2" CI Dual Plate Wafer Type Check Valve
2-1/2" CI Dual Plate Wafer Type Check Valve
3" CI Dual Plate Wafer Type Check Valve
4" CI Dual Plate Wafer Type Check Valve
5" CI Dual Plate Wafer Type Check Valve
6" CI Dual Plate Wafer Type Check Valve
8" CI Dual Plate Wafer Type Check Valve
10" CI Dual Plate Wafer Type Check Valve
12" CI Dual Plate Wafer Type Check Valve
14" CI Dual Plate Wafer Type Check Valve
1" CI Swing Check Valve Flanged
1-1/4" CI Swing Check Valve Flanged
1-1/2" CI Swing Check Valve Flanged
2" CI Swing Check Valve Flanged
2-1/2" CI Swing Check Valve Flanged
3" CI Swing Check Valve Flanged
4" CI Swing Check Valve Flanged
5" CI Swing Check Valve Flanged
6" CI Swing Check Valve Flanged
8" CI Swing Check Valve Flanged
10" CI Swing Check Valve Flanged
12" CI Swing Check Valve Flanged
14" CI Swing Check Valve Flanged
16" CI Swing Check Valve Flanged
18" CI Swing Check Valve Flanged
20" CI Swing Check Valve Flanged
24" CI Swing Check Valve Flanged
3/4" CI Horizontal Lift Check Valve Flanged
1/2" CI Horizontal Lift Check Valve Flanged
1" CI Horizontal Lift Check Valve Flanged
1-1/4" CI Horizontal Lift Check Valve Flanged
1-1/2" CI Horizontal Lift Check Valve Flanged
2" CI Horizontal Lift Check Valve Flanged
2-1/2" CI Horizontal Lift Check Valve Flanged
3" CI Horizontal Lift Check Valve Flanged
4" CI Horizontal Lift Check Valve Flanged
5" CI Horizontal Lift Check Valve Flanged
6" CI Horizontal Lift Check Valve Flanged
8" CI Horizontal Lift Check Valve Flanged
10" CI Horizontal Lift Check Valve Flanged
12" CI Horizontal Lift Check Valve Flanged

## Valves h
Valves | Butterfly Valves | Wafer Type Butterfly Valves | Wafer Type Butterfly Valves- Gear Operated | Wafer Type Butterfly Valves with Ductile Iron Disc- Gear Operated | 2" Butterfly Valve Wafer Type with Ductile Iron Disc-Gear Operated
2-1/2" Butterfly Valve Wafer Type with Ductile Iron Disc-Gear Operated
3" Butterfly Valve Wafer Type with Ductile Iron Disc-Gear Operated
4" Butterfly Valve Wafer Type with Ductile Iron Disc-Gear Operated
5" Butterfly Valve Wafer Type with Ductile Iron Disc-Gear Operated
6" Butterfly Valve Wafer Type with Ductile Iron Disc-Gear Operated
8" Butterfly Valve Wafer Type with Ductile Iron Disc-Gear Operated
10" Butterfly Valve Wafer Type with Ductile Iron Disc-Gear Operated
12" Butterfly Valve Wafer Type with Ductile Iron Disc-Gear Operated
14" Butterfly Valve Wafer Type with Ductile Iron Disc-Gear Operated
16" Butterfly Valve Wafer Type with Ductile Iron Disc-Gear Operated
18" Butterfly Valve Wafer Type with Ductile Iron Disc-Gear Operated
20" Butterfly Valve Wafer Type with Ductile Iron Disc-Gear Operated
24" Butterfly Valve Wafer Type with Ductile Iron Disc-Gear Operated
|  |  |  | Wafer Type Butterfly Valves with Stainless Steel Disc- Gear Operated | 2" Butterfly Valve Wafer Type with SS Disc-Gear Operated
2-1/2" Butterfly Valve Wafer Type with SS Disc-Gear Operated
3" Butterfly Valve Wafer Type with SS Disc-Gear Operated
4" Butterfly Valve Wafer Type with SS Disc-Gear Operated
5" Butterfly Valve Wafer Type with SS Disc-Gear Operated
6" Butterfly Valve Wafer Type with SS Disc-Gear Operated
8" Butterfly Valve Wafer Type with SS Disc-Gear Operated
10" Butterfly Valve Wafer Type with SS Disc-Gear Operated
12" Butterfly Valve Wafer Type with SS Disc-Gear Operated
14" Butterfly Valve Wafer Type with SS Disc-Gear Operated
16" Butterfly Valve Wafer Type with SS Disc-Gear Operated
18" Butterfly Valve Wafer Type with SS Disc-Gear Operated
20" Butterfly Valve Wafer Type with SS Disc-Gear Operated
24" Butterfly Valve Wafer Type with SS Disc-Gear Operated
|  |  | Wafer Type Butterfly Valves-Hand Lever Operated | Wafer Type Butterfly Valves with Ductile Iron Disc-Hand Lever Operated | 1-1/2" Butterfly Valve Wafer Type with DI Disc-Hand Lever Operated
2" Butterfly Valve Wafer Type with DI Disc-Hand Lever Operated
2-1/2" Butterfly Valve Wafer Type with DI Disc-Hand Lever Operated
3" Butterfly Valve Wafer Type with DI Disc-Hand Lever Operated
4" Butterfly Valve Wafer Type with DI Disc-Hand Lever Operated
6" Butterfly Valve Wafer Type with DI Disc-Hand Lever Operated
8" Butterfly Valve Wafer Type with DI Disc-Hand Lever Operated
10" Butterfly Valve Wafer Type with DI Disc-Hand Lever Operated
12" Butterfly Valve Wafer Type with DI Disc-Hand Lever Operated
14" Butterfly Valve Wafer Type with DI Disc-Hand Lever Operated
16" Butterfly Valve Wafer Type with DI Disc-Hand Lever Operated
|  |  |  | Wafer Type Butterfly Valves with Ductile SS Disc-Hand Lever Operated | 1-1/2" Butterfly Valve Wafer Type with SS Disc-Hand Lever Operated
2" Butterfly Valve Wafer Type with SS Disc-Hand Lever Operated
2-1/2" Butterfly Valve Wafer Type with SS Disc-Hand Lever Operated
3" Butterfly Valve Wafer Type with SS Disc-Hand Lever Operated
4" Butterfly Valve Wafer Type with SS Disc-Hand Lever Operated
6" Butterfly Valve Wafer Type with SS Disc-Hand Lever Operated
8" Butterfly Valve Wafer Type with SS Disc-Hand Lever Operated
10" Butterfly Valve Wafer Type with SS Disc-Hand Lever Operated
12" Butterfly Valve Wafer Type with SS Disc-Hand Lever Operated
14" Butterfly Valve Wafer Type with SS Disc-Hand Lever Operated
16" Butterfly Valve Wafer Type with SS Disc-Hand Lever Operated
|  |  | Butterfly Valve with Pneumatic Actuator |  | 1-1/2" Wafer Type Butterfly Valve with Pneumatic Actuator
2" Wafer Type Butterfly Valve with Pneumatic Actuator
2-1/2" Wafer Type Butterfly Valve with Pneumatic Actuator
3" Wafer Type Butterfly Valve with Pneumatic Actuator
4" Wafer Type Butterfly Valve with Pneumatic Actuator
6" Wafer Type Butterfly Valve with Pneumatic Actuator
8" Wafer Type Butterfly Valve with Pneumatic Actuator
|  |  | Butterfly Valve with Electric Actuator |  | 1-1/2" Wafer Type Butterfly Valve with Electric Actuator
2" Wafer Type Butterfly Valve with Electric Actuator
2-1/2" Wafer Type Butterfly Valve with Electric Actuator
3" Wafer Type Butterfly Valve with Electric Actuator
4" Wafer Type Butterfly Valve with Electric Actuator
6" Wafer Type Butterfly Valve with Electric Actuator
8" Wafer Type Butterfly Valve with Electric Actuator
10" Wafer Type Butterfly Valve with Electric Actuator
12" Wafer Type Butterfly Valve with Electric Actuator
14" Wafer Type Butterfly Valve with Electric Actuator

## Data
Fire Hoses | CP Fire Hoses | 1" Synthetic Yarn CP Fire Hose
1-1/2" Synthetic Yarn CP Fire Hose
1-3/4" Synthetic Yarn CP Fire Hose
2" Synthetic Yarn CP Fire Hose
2-1/2" Synthetic Yarn CP Fire Hose
2-3/4" Synthetic Yarn CP Fire Hose
3" Synthetic Yarn CP Fire Hose
4" Synthetic Yarn CP Fire Hose
5" Synthetic Yarn CP Fire Hose
6" Synthetic Yarn CP Fire Hose
| Type A Fire Hoses | 1" Reinforced Fabric Rubberlined Fire Hose Type A
1-1/2" Reinforced Fabric Rubberlined Fire Hose Type A
1-3/4" Reinforced Fabric Rubberlined Fire Hose Type A
2" Reinforced Fabric Rubberlined Fire Hose Type A
2-1/2" Reinforced Fabric Rubberlined Fire Hose Type A
2-3/4" Reinforced Fabric Rubberlined Fire Hose Type A
3" Reinforced Fabric Rubberlined Fire Hose Type A
4" Reinforced Fabric Rubberlined Fire Hose Type A
5" Reinforced Fabric Rubberlined Fire Hose Type A
6" Reinforced Fabric Rubberlined Fire Hose Type A
| Type B Fire Hoses | 1" Reinforced Fabric Rubberlined Fire Hose Type B
1-1/2" Reinforced Fabric Rubberlined Fire Hose Type B
1-3/4" Reinforced Fabric Rubberlined Fire Hose Type B
2" Reinforced Fabric Rubberlined Fire Hose Type B
2-1/2" Reinforced Fabric Rubberlined Fire Hose Type B
2-3/4" Reinforced Fabric Rubberlined Fire Hose Type B
3" Reinforced Fabric Rubberlined Fire Hose Type B
4" Reinforced Fabric Rubberlined Fire Hose Type B
5" Reinforced Fabric Rubberlined Fire Hose Type B
6" Reinforced Fabric Rubberlined Fire Hose Type B
| Large Diameter Fire Hoses | 8" Nitrile Rubber Hose
10" Nitrile Rubber Hose
12" Nitrile Rubber Hose