## PANEL, SWITCHGEARS
SR. NO. | ITEMS | PREFERRED MAKES (W.E.F. 22.09.2023) | CATEGORY FOR TEST CERTIFICATION/INSPECTION
1 | LT PANELS (TTA) | URJAYANT / KRUTI / CMKL (CORE METAL) / KEPL (KHOKHAR) / LEGRAND (NOVATEUR) / CONQUERENT / MITSUBISHI / LS POWER / ZENIYA / NEPTUNE / L&T / C&S / BCH / ADVANCE / TRICOLITE / RISHA / SCHNEIDER / SUDHIR / EAP / TRISQUARE / MILESTONE / ABB / ADLEC / SIEMENS / MePOWER / RITTAL / STERLING GENERATORS / NITYA / GE POWER (SPECTRA) / UNILEC / GODREJ / INCOTECH / CONSOUL (RR ISPAT) / PEATON / HAROLD / SPC ELECTROTECH | CATEGORY-1
2 | LT PANELS / FEEDER PILLAR (Pillar) / BUS TRUNKING | URJAYANT / KRUTI / CMKL (CORE METAL) / KEPL (KHOKHAR) / LEGRAND (NOVATEUR) / CONQUERENT / MITSUBISHI / LS POWER / ZENIYA / NEPTUNE / L&T / C&S / BCH / ADVANCE / TRICOLITE / RISHA / SCHNEIDER / SUDHIR / EAP / TRISQUARE / MILESTONE / ABB / ADLEC / SIEMENS / MePOWER / RITTAL / STERLING GENERATORS / NITYA / GE POWER (SPECTRA) / UNILEC / INCOTECH / HAROLD / NITYA / ENGINEERS & ENGINEERS | CATEGORY-1
3 | AIR CIRCUIT BREAKERS | BCH / MITSUBISHI / HPL / L&T / LEGRAND (NOVATEUR) / ABB / C&S / HAVELLS / SIEMENS / CHINT / GE POWER / SCHNEIDER | CATEGORY-2
4 | MOULDED CASE CIRCUIT BREAKERS (MCCB) | BCH / MITSUBHISHI / L&T / LEGRAND (NOVATEUR) / ABB / C&S / HAVELLS / INDO ASIAN (NOVATEUR) / HPL / SIEMENS / ANDREW YULE / BENLO / CHINT / GE POWER / STANDARD / SCHNEIDER | CATEGORY-2
5 | CHANGE OVER SWITCH / FUSE DISCONNECTOR SWITCH / SWITCH FUSE UNITS | BENTEC / BCH / INDO ASIAN (NOVATEUR) / SOCOMEC / L&T / LEGRAND (NOVATEUR) / C&S / HPL / ABB / HAVELLS / SIEMENS / BENLO / HH ELCON / GE POWER / STANDARD / SCHNEIDER | CATEGORY-2
6 | METERS - ANALOGUE | SELEC / C&S / ABB | CATEGORY-3
7 | METERS - DIGITAL | BENTEC / SELEC / C&S / MITSUBHISHI / ABB / NEPTUNE / SOCOMEC / HPL / L&T / MEGGER / RISHABH / SIEMENS / SCHNEIDER / BENLO / AE / MECO / IMP / UNIVERSAL / TRINITY TOUCH / BHEL / ELMEASURE / CONSERVE / HPK / HAVELLS / SIMCO / JAIPUR METERS / INDIA METER / MOTWANE / SECURE / SUNCO / FINDER | CATEGORY-3
8 | SELECTOR SWITCH, PUSH BUTTON SWITCH / EMERGENCY SWITCH | ABB / TRINITY TOUCH / L&T / C&S / BCH / EATON / SIEMENS / HENSEL / HAGER / KAY CEE / GE POWER / SCHNEIDER / ROCKWELL (ALLEN BRADLEY) / TEKNIC | CATEGORY-4
9 | CT's / PT's | KRUTI / WAGO / CG POWER / SELEC / NEWTEK / ANANT POWER (ADVANCE) / MEGAWIN / HAGER / AE / UNIVERSAL / KAYCEE / IMP / C&S / L&T / MECO / KAPCO / CROMPTON GREAVES / PRAGATI / INSTRANS / KAPPA | CATEGORY-3
10 | PROTECTIVE RELAYS (ALL TYPE) | WAGO / SELEC / HAVELLS / MITSUBISHI / L&T / CG POWER / C&S / ABB / SIEMENS / MEGAWIN / EASUN | CATEGORY-2
11 | CONTACTORS | HAVELLS / L&T / SELEC / BCH / ABB / LEGRAND (NOVATEUR) / C&S / SIEMENS / HAGER / INDO ASIAN (NOVATEUR) / SCHNEIDER / ADVANIO RLIKON / GE / FINDER | CATEGORY-3
12 | TIMERS / TIME SWITCH - ANALOGUE | EATON / HAVELLS / L&T / SELEC / ABB / LEGRAND (NOVATEUR) / FINDER / C&S / SIEMENS | CATEGORY-3
13 | LED INDICATION LAMPS | EATON / OLIVE / ABB / L&T / C&S / BCH / HAGER / AE / VINAY LED / EASUN / CON / KAY CEE / SIEMENS / VAISHNOV / SCHNEIDER / ROCKWELL (ALLEN BRADLEY) / PREFIFINE | CATEGORY-3
14 | LED INDICATION LAMPS | EATON / OLIVE / ABB / L&T / C&S / BCH / HAGER / AE / VINAY LED / EASUN / CON / KAY CEE / SIEMENS / VAISHNOV / SCHNEIDER / ROCKWELL (ALLEN BRADLEY) / PREFIFINE | CATEGORY-3
Brand | List of Products Fulfilled (Item Numbers) | Number of Products Fulfilled
ABB | Items 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13 | 13
C&S | Items 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13 | 13
L&T | Items 1, 2, 3, 4, 5, 7, 8, 9, 10, 11, 12, 13 | 12
SIEMENS | Items 1, 2, 3, 4, 5, 7, 8, 9, 10, 11, 12, 13 | 12
SCHNEIDER | Items 1, 2, 3, 4, 5, 7, 8, 10, 11, 13 | 10
BCH | Items 1, 2, 3, 4, 5, 8, 11, 12, 13 | 9
HAVELLS | Items 3, 4, 5, 7, 10, 11, 12, 13 | 8
LEGRAND (NOVATEUR) | Items 1, 2, 3, 4, 5, 7, 11, 12 | 8
SELEC | Items 6, 7, 9, 10, 11, 12 | 6
MITSUBISHI | Items 1, 3, 7, 10 | 4
HPL | Items 3, 4, 5, 7 | 4
HAGER | Items 8, 9, 11, 13 | 4
GE POWER | Items 3, 4, 5, 8 | 4
BENLO | Items 4, 5, 7 | 3
INDO ASIAN (NOVATEUR) | Items 4, 5, 11 | 3
FINDER | Items 7, 11, 12 | 3
AE | Items 7, 9, 13 | 3
KRUTI | Items 1, 2, 9 | 3
KAY CEE | Items 8, 9, 13 | 3
EATON | Items 8, 12, 13 | 3
TRINITY TOUCH | Items 7, 8 | 2
MEGAWIN | Items 9, 10 | 2
WAGO | Items 9, 10 | 2
ROCKWELL (ALLEN BRADLEY) | Items 8, 13 | 2
CONQUERENT | Items 1, 2 | 2
uRJAYANT | Items 1, 2 | 2
HENSEL | Item 8 | 1
ADVANCE | Item 1 | 1
ANDREW YULE | Item 4 | 1
ADVANI OERLIKON | Item 11 | 1

## Substation RELATED I
SR. NO. | ITEMS | PREFERRED MAKES (W.E.F. 22.09.2023) | CATEGORY FOR TEST CERTIFICATION/INSPECTION
1 | TRANSFORMER UP TO 500 KVA (DRY/OIL) | POWER STAR / JAY BEE / RTS / CG POWER / SUDHIR / VOLTAMP / ABB / ANDREW YULE / KIRLOSKAR / INDO TECH / BHARAT BIJLEE / TELK / BHEL / KOTSONS / SCHNEIDER | CATEGORY-1
2 | TRANSFORMER MORE THAN 500 KVA (DRY/OIL) | POWER STAR / JAY BEE / RTS / CG POWER / SUDHIR / VOLTAMP / ABB / ANDREW YULE / KIRLOSKAR / SIEMENS / BHARAT BIJLEE / BHEL / KOTSONS / SCHNEIDER | CATEGORY-1
3 | HT PANEL | PASCAL / KEPL (KHOKHAR) / CONQUERENT / RISHA / CORONET / LS POWER / ZENIYA / EAP / CG POWER (CFPI SL) / TRICOLITE / SUDHIR / L&T / ABB / TRISQUARE / SCHNEIDER / MILESTONE / EATON / ANANT POWER (ADVANCE) / ADLEC / C&S / NITYA / PSI / ANDREW YULE / MEGAWIN / MePOWER / STERLING GENERATORS / MEI / SOUTHERN SWITCH GEARS / BIECO LAWRIE / NGEF / JYOTI / KIRLOSKKER / SIE / SIEMENS / BHEL | CATEGORY-1
4 | BUS DUCT - SANDWICH | ADVANCE / RR KABEL / L&T / C&S / LEGRAND (NOVATEUR) / EAP / EAE / GODREJ / MOELLAR (IMPORTED) / HONIKOWN (IMPORTED) / GE POWER / SCHNEIDER | CATEGORY-2
5 | HT/LT TERMINATION & JOINTING KIT | CABSEAL (HARI CONSOLIDATED) / COMPAQ / ANDREW YULE / RAY CHEM / M-SEAL / CAB SEAL / DENSON / MAHINDRA / BIRLA-3M | CATEGORY-3
6 | POWER CABLES ABOVE 11 KV | RR KABEL / SPECIAL CABLES / JMW KABEL / PARAMOUNT / TIRUPATI / KEC / HPL / POLYCAB / DYNAMIC / HAVELLS / KEI / UNIVERSAL / GLOSTER / CRYSTAL / WORLDCAB / RHINO / CMI / UNICAB / AVOCAB (CHANDRESH) / GEMSCAB / CCI (BANGLORE) / RPG (ASIAN) (MUMBAI) / TORRENT (NADIAD) / NICCO (Shyam nagar, WB) / ICL (Raipura) / FINOLEX (Pune) / INDUSTRIAL CABLES (Raipura) / RAVIN CABLES | CATEGORY-1
7 | POWER CABLES UP TO AND INCLUDING 11 KV | RR KABEL / PLAZA / SPECIAL CABLES / JMW KABEL / POLYCAB / AVOCAB (CHANDRESH) / DYNAMIC / PARAMOUNT / SVARN / RALLISON (LKB) / BCH / TIRUPATI / KEC / GRANDLAY / HPL / GLOSTER / BONTON / HAVELLS / KEI / UNIVERSAL / CRYSTAL / WORLDCAB / DELTON / RHINO / CMI / UNICAB / GEMSCAB / CORDS / CCI / NICCO / RPG / INDUSTRIAL CABLES / TORRENT / HINDUSTAN VIDYUT PRODUCT LTD / FINOLEX / EKTA / SKYTONE / RAVIN CABLES | CATEGORY-1
8 | CONTROL CABLES | RR KABEL / PLAZA / SPECIAL CABLES / JMW KABEL / AVOCAB (CHANDRESH) / PARAMOUNT / SVARN / RALLISON (LKB) / BCH / BONTON / TIRUPATI / KEI / KEC / GRANDLAY / UNIVERSAL / NATCAB (KWALITY) / HPL / POLYCAB / DYNAMIC / ALOKE (ANKUR) / HAVELLS / GLOSTER / CRYSTAL / WORLDCAB / DELTON / TAMRA / FINECAB / RHINO / CMI / UNICAB / GEMSCAB / BATRA / CORDS / NICCO / RPG / TORRENT / FINOLEX / HINDUSTAN VIDYUT PRODUCT LTD / LAPP / EKTA / SKYTONE / RAVIN CABLES | CATEGORY-1
9 | TELEPHONE CABLE | RR KABEL / PLAZA / JMW KABEL / PARAMOUNT / ALOKE (ANKUR) / RALLISON (LKB) / BONTON / TIRUPATI / HAVELLS / KEI / KEC / KVVS (INDUSTRIAL) / HPL / POLYCAB / DELTON / CMI / SKYTONE / NATIONAL / NICCO | CATEGORY-2
10 | CO-AXIAL / INSTRUMENTATION / FIBRE OPTIC / CAT-6 / CAT-6A CABLES | RR KABEL / PLAZA / SPECIAL CABLES / JMW KABEL / POLYCAB / PARAMOUNT / LEGRAND (NOVATEUR) / SVARN / RALLISON (LKB) / BONTON / HAVELLS / KEI / ROSENBERGER / KEC / GRANDLAY / GLOSTER / DELTON / RHINO / CMI / UNICAB / AVOCAB (CHANDRESH) / GEMSCAB / CORDS / SCHNEIDER / BHANSALI / SKYTONE / RPG / UNIVERSAL / UNIFLEX / AMP / AVAYA / METRO / SKYLINE / DELTON | CATEGORY-2
11 | CABLE MANAGEMENT SYSTEM (CABLE TRAY - PREFABRICATED / PERFORATED / LADDER TYPE / WIRE MESH TYPE, ETC.) | RMSCO (RAJASTHAN METAL) / RMCON (RMG) / SUMIP / CTM / LS POWER / LEGRAND (NOVATEUR) / MEM / L&T / RR ISPAT / RATAN'S / STERLING DURO / OBO BETTERMANN / PILCO / INDIANA / VENUS / STEELITE / SADHANA ENGG / TECHNAD ENG / MM ENGG / POWER CAB / NEPTUNE / RICO STEEL / PROAB ENGG / SLOTCO / BEC | CATEGORY-3
12 | UNDER FLOOR RACEWAYS & ITS ACCESSORIES | ADVANCE-ANANT / SPC ELECTROTECH / MM ENTERPRISES / CTM | CATEGORY-3
13 | CAPACITORS | NEPTUNE / L&T / P2POWER / LEGRAND (NOVATEUR) / HAVELLS / TDK INDIA / SHREEM / ABB / SCHNEIDER / GE POWER / VOLTAS / BHEL / KHATAU ZANKAR / USHA / MATRIX | CATEGORY-2
14 | APFC PANEL | AB POWER / uRJAYANT / P2POWER / KEPL (KHOKHAR) / SELEC / CG POWER / ITE-GURGON (INDIAN TRANSFORMERS) / CONQUERENT / BCH / ANANT POWER (ADVANCE) / RISHA / HAVELLS / CORONET / SPC ELECTROTECH / RST / PEATON / LS POWER / MILESTONE / EAP / L&T / LEGRAND (NOVATEUR) / C&S / NEPTUNE / SCHNEIDER / TRICOLITE / SHREEM / ADLEC / EPCOS / AMBIT | CATEGORY-1
15 | ACTIVE & PASSIVE (HYBRID) PANEL | NEPTUNE / L&T / P2POWER / SELEC / ANANT POWER (ADVANCE) / SCHNEIDER / SPC ELECTROTECH / RST ELECTRICALS / TDK INDIA | CATEGORY-1
16 | LIGHTENING PROTECTION SYSTEM (LPS) COMPLYING UPDATED IEC/NBC | CAPE / JMV / ABB / DEHN / PHEONIX / TERCEL / ERICO / INDELEC / DUVAL MASSIAN / FRANKLIN | CATEGORY-3
17 | EARTHING SYSTEM (CHEMICAL) | RMSCO (RAJASTHAN METAL) / DEHN / ABB / JMV / CAPE / RATAN'S / APS / OBO BETTERMANN / PROTEC-DHRUVA (DHRUVA) | CATEGORY-3
18 | SURGE PROTECTION DEVICES | WAGO / HAVELLS / ABB / L&T / LEGRAND (NOVATEUR) / DEHN / MERSEN / JMV / PHOENIX CONTACT / TERCEL / CAPE / OBO BETTERMANN / ALLIED / PROTEC / SECOM / ITE / CITEL | CATEGORY-3
19 | SCADA (HARDWARE & SOFTWARE, EXCEPT COMPUTER & ACCESSORIES) | L&T / WAGO / PHOENIX CONTACT / ABB / SIEMENS / ALLEN BRADLEY / GE FANUC / JOHNSON CONTROLS / LANDIS & STAEFA / HONEYWELL / SCHNEIDER | CATEGORY-2
20 | SF6 CIRCUIT BREAKER | EATON / VOLTAMP / L&T / ABB / C&S / BHEL / CROMPTON GREAVES / KIRLOSKER / SIEMENS / SCHNEIDER | CATEGORY-2
21 | VACUUM CIRCUIT BREAKER | PASCAL / EATON / CG POWER / L&T / ABB / SCHNEIDER / C&S / ANDREW YULE / MEGAWIN / CHINT / SIEMENS | CATEGORY-2
22 | SERVO / AUTOMATIC VOLTAGE STABILIZER | SELEC / ITE-GURGON (INDIAN TRANSFORMERS) / P2POWER / CONSUL NEOWALT / ANDREW YULE | CATEGORY-2
23 | AUTO TRANSFER SWITCH (ATS) | EATON / HPL / L&T / LEGRAND (NOVATEUR) / SOCOMEC / HAVELLS / HAGER / ASCO (SCHNEIDER) | CATEGORY-2
24 | COMPACT SUBSTATION | ITE-GURGON (INDIAN TRANSFORMERS) / CONQUERENT / SUDHIR POWER / PEATON / LS POWER / VOLTAMP / L&T / ABB / C&S / SCHNEIDER | CATEGORY-1
25 | EMERGENCY LIGHT - LED (PORTABLE) | UNITED FIRE (LIFEGUARD) / OLIVE EXPORTS (OLIVE LED) / ABB / PROLITE / BPL / SANYO | CATEGORY-3
26 | CABLE GLANDS | HENSEL / POLYCAB / TRINITY TOUCH / ROXTEC / COMET / DOWELL / ELECTROMAC / SIEMENS / BRACO / HMPL (METALIC CRAFT) | CATEGORY-3
27 | LUGS & THIMBLES | WAGO / POLYCAB / TRINITY TOUCH / DOWELLS / JOHNSONS / COMET | CATEGORY-4
28 | SYNTHETIC / PVC INSULATING MATS | CPRI CERTIFIED FOR REQUIRED VOLTAGE LEVEL | CATEGORY-2
29 | INSULATION TAPE (HT/LT) | BENLO / ANCHOR / BCH | CATEGORY-4

## DG SETS & RELATED
SR. NO. | ITEMS | PREFERRED MAKES (W.E.F. 22.09.2023) | CATEGORY FOR TEST CERTIFICATION/INSPECTION
1 | DIESEL ENGINE ABOVE 250 KVA | BAUDOUIN STERLING (SHANDONG) / MAHINDRA POWEROL / PERKINS / CUMMINS / KOEL / CATERPILLAR / GREAVES COTTON / MTU / VOLVO PENTA | CATEGORY-1
2 | DIESEL ENGINE UPTO AND INCLUDING 250 KVA | BAUDOUIN STERLING (SHANDONG) / TMTL (TAFE MOTORS) / MAHINDRA POWEROL / ASHOK LEYLAND / CUMMINS / KOEL / CATERPILLAR / GREAVES COTTON / MTU / VOLVO PENTA | CATEGORY-1
3 | ALTERNATOR | TDPS (TD POWER SYSTEM) / KIRLOSKAR / LEROY-SOMER / CROMPTON GREAVES / JYOTI / NGEF / KEL / STAMFORD (CUMMINS GENERATOR) | CATEGORY-1
4 | BATTERIES - LEAD ACID | KIRLOSKAR / EXIDE / AMCO / PRESTOLITE / AMARON / GENPRO / STANDARD / FURUKAWA / LUCAS / HBL NIFE | CATEGORY-3
5 | BATTERY CHARGER | SELEC / VERTIV / DELTA | CATEGORY-2
6 | UPS - ABOVE 10 KVA | PROSTARM / NUMERIC-LEGRAND / UNILINE / TMEIC / POWER ONE / RIELLO / ABB / MICROTEK / SOCOMEC / GREEN / AUTOMETERS / CONSUL NEOWATT / VERTIV (EMERSON) / APC / DBPOWER / EATON / SCHNEIDER | CATEGORY-3
7 | UPS - UPTO 10 KVA | PROSTARM / NUMERIC-LEGRAND / RIELLO / UNILINE / ABB / POWER-ONE / DELTA / MICROTEK / SOCOMEC / GREEN / VERTIV (EMERSON) / DBPOWER / APC / EATON / SCHNEIDER | CATEGORY-3

## INTERNAL WIRING RELATED
SR. NO. | ITEMS | PREFERRED MAKES (W.E.F. 22.09.2023) | CATEGORY FOR TEST CERTIFICATION/INSPECTION
1 | MCB / ISOLATOR / MCBDB / RCCB / RCBO / ELCB / MPCB | ANCHOR (PANASONIC) / ORIENT ELECTRIC / L&T / LEGRAND (NOVATEUR) / C&S / HPL / ABB / MITSUBISHI / POLYCAB / HAVELLS / INDO ASIAN (NOVATEUR) / BENLO / GM / MK HONEYWELL / HAGER / STANDARD / SIEMENS / GE / BCH / EATON / SCHNEIDER | CATEGORY-2
2 | MS CONDUIT | STEEL KRAFTS / TRINITY TOUCH / RMCON (RMG STEELS) / SUPER / JPC PIPES / BEC | CATEGORY-3
3 | PVC CONDUIT | ANCHOR (PANASONIC) / POLYCAB / TRINITY TOUCH / AKG / ANCHOR / GM / JPC PIPES / POLYPACK / PRECISION / MIHIR / BEC | CATEGORY-3
4 | INDUSTRIAL SOCKET IN SHEET STEEL ENCLOSURE WITH MCB | L&T / POLYCAB / NEPTUNE-BALS / LEGRAND (NOVATEUR) / C&S / BCH / HAVELLS / HAGER / INDO-ASIAN / CROMPTON / HPL / SCHNEIDER | CATEGORY-4
5 | INSULATED COPPER WIRE | RR KABEL / POLYCAB / KEI / FINOLEX / HAVELLS / KDK / EVERSHINE / FINECAB / CAPCAB / STANDARD | CATEGORY-2
6 | SWITCHES / SOCKETS / TELEPHONE / TV / DATA SOCKET / BOXES (MODULAR TYPE) | RR KABEL / ANCHOR (PANASONIC) / ORIENT ELECTRIC / INDO ASIAN (NOVATEUR) / C&S / POLYCAB / HPL / L&T / LEGRAND (NOVATEUR) / HAVELLS / BENLO / SIMON / GOLD MEDAL / GM / MK HONEYWELL / BCH / HAGER / SSKAY / NORTH WEST / CLIPSAL / WESTERN VEGA / ABB | CATEGORY-3
7 | SWITCHES / SOCKETS / TELEPHONE / TV / DATA SOCKET / BOXES (PIANO TYPE) | ANCHOR (PANASONIC) / BENTEC / HAVELLS / HPL / POLYCAB / BENLO / SIMON / GOLD MEDAL / GM / MK HONEYWELL / BCH / HAGER / SSKAY / NORTH WEST / CLIPSAL / WESTERN VEGA | CATEGORY-3

## FIRE ALARM EQUIPMENT
SR. NO. | ITEMS | PREFERRED MAKES (W.E.F. 22.09.2023) | CATEGORY FOR TEST CERTIFICATION/INSPECTION
1 | FIRE / SMOKE DETECTOR | EATON / HOCHIKI / RAVEL / SIEMENS / BOSCH / APOLLO / EDWARDS (UTC) / G+M / SCHRACK / HONEYWELL / KIDDE (UTC) / GST (UTC) / SYSTEM SENSOR / MORLEY IAS / NOTOFIRE / TYCO | CATEGORY-2
2 | MULTI CRITERIA DETECTOR | SIEMENS / EATON / HOCHIKI / BOSCH / APOLLO / RAVEL | CATEGORY-2
3 | FIRE ALARM PANEL / REPEATER PANEL | SIEMENS / EATON / HOCHIKI / BOSCH / APOLLO / RAVEL / AUTRONICA (UTC) / EDWARDS (UTC) / HONEYWELL / KIDDE (UTC) / GST (UTC) / SYSTEM SENSOR / MORLEY IAS / GROUP4 / MATHER & PLATT / MINIMAX | CATEGORY-2
4 | HOOTER / MANUAL CALL POINT / RESPONSE INDICATOR | ASES / EATON / HOCHIKI / RAVEL / BOSCH / APOLLO / EDWARDS (UTC) / HONEYWELL / GST (UTC) / MORLEY IAS / SYSTEM SENSOR / GROUP4 / MINIMAX | CATEGORY-2
5 | PA SYSTEM FOR FIRE ALARM SYSTEM | ASES / RAVEL / SIEMENS / G+M / SCHRACK / BOSCH / APOLLO / HONEYWELL / AHUJA / PHILIPS / MONYANE / TYCO-FIRECLASS | CATEGORY-3
6 | FIRE SURVIVAL CABLE | RR KABEL / SPECIAL CABLES / JMW KABEL / POLYCAB / SVARN / ALOKE (ANKUR) / RALLISON (LKB) / KEC / GRANDLAY / RAVEL / GLOSTER / KEI / BONTON / BOSCH / CMI / BATRA / HENLAY / WREXHAM / FUSION POLYMER | CATEGORY-2
7 | FIRE SIGNAGES | ASES / LIFEGUARD (UNITED FIRE) / EATON / FIRE SHIELD / BOSCH / RAVEL / DELITE / AUTOGLO (PROLITE) | CATEGORY-3
8 | ASPIRATION SYSTEM | SHOOTFIRE (VIMAL FIRE) / HOCHIKI / BOSCH / RAVEL | CATEGORY-2
9 | FAULT ISOLATOR | ASES / HOCHIKI / BOSCH / APOLLO / RAVEL | CATEGORY-3

## LED LIGHT FIXTURE AND FAN
SR. NO. | ITEMS | PREFERRED MAKES (W.E.F. 22.09.2023) | CATEGORY FOR TEST CERTIFICATION/INSPECTION
1 | LIGHT FIXTURE WITH LED - INDOOR | RR KABEL (RR/AARAYSTORM) / PANASONIC / EVEREADY / POLYCAB / SURYA / HALONIX / HAVELLS / JAQUAR (JAQUAR LIGHTING) / HPL / SIGNIFY / BAJAJ / WIPRO / ORIENT / CROMPTON | CATEGORY-2
2 | LIGHT FIXTURE WITH LED - OUTDOOR | RR KABEL (RR/AARAYSTORM) / PANASONIC / BENTEC (BENLO) / EVEREADY / POLYCAB / K-LITE / SURYA / TRANSRAIL / HALONIX / HAVELLS / JAQUAR (JAQUAR LIGHTING) / HPL / SIGNIFY / INSTAPOWER / BAJAJ / WIPRO / ORIENT / CROMPTON | CATEGORY-2
3 | LIGHT FIXTURE WITH LED - FACADE | ADY / POLYCAB / K-LITE / SURYA / TRANSRAIL / HALONIX / HAVELLS / JAQUAR (JAQUAR LIGHTING) / HPL / SIGNIFY / INSTAPOWER / BAJAJ / WIPRO / ORIENT | CATEGORY-2
4 | LINEAR LED | RR KABEL (RR/AARAYSTORM) / PANASONIC / EVEREADY / POLYCAB / SURYA / HALONIX / HAVELLS / HPL / SIGNIFY / BAJAJ / WIPRO / ORIENT / CROMPTON | CATEGORY-2
5 | LIGHT FIXTURE (NON-LED) | SURYA / HAVELLS / BAJAJ / WIPRO / CROMPTON | CATEGORY-2
6 | AVIATION WARNING / OBSTRUCTION LIGHT | K-LITE / SURYA / TRANSRAIL / HPL / INSTAPOWER / BAJAJ / WIPRO / CROMPTON | CATEGORY-3
7 | CEILING / WALL / EXHAUST / PEDESTAL FAN (CONVENTIONAL) | ORIENT ELECTRIC / RR KABEL / ANCHOR (PANASONIC) / POLYCAB / HALONIX / HAVELLS | CATEGORY-2
8 | CEILING / WALL / EXHAUST / PEDESTAL FAN (BLDC) | ORIENT ELECTRIC / RR KABEL / ANCHOR (PANASONIC) / POLYCAB / HALONIX / HAVELLS | CATEGORY-2

## AIR CONDITIONING AND FIRE FIGHT
SR. NO. | ITEMS | PREFERRED MAKES (W.E.F. 22.09.2023) | CATEGORY FOR TEST CERTIFICATION/INSPECTION
1 | GI/MS PIPE | APL APOLLO / PRAKASH SURYA / ITL-INDUS / JPC PIPE / JINDAL STAR / TATA / HSL / SAIL / BEC / HIRA PIPES (RR ISPAT) | CATEGORY-2
2 | VALVE - BUTTERFLY, SLUICE, CHECK/NRV, FOOT, GATE, GLOBE, MANUAL | SARKAR / DIVINE / C&R / SANT / VA / CASTLE / DANFOSS / ZOLOTO / ANERGY | CATEGORY-2
3 | VALVE - BALANCING / MODULATING / PICV, DELTA T / CONTROL / MIXING, MOTORIZED | SANT / VENUS / CASTLE / ZOLOTO / ANERGY / SANT / VTM / EMERALD / LEADER | CATEGORY-2
4 | FLEXIBLE CONNECTION FOR SPRINKLER / SPRINKLER | LIFEGUARD (UNITED FIRE) / FIRE SHIELD / NEWAGE / EXFLAME / HD / SAFEFIRE / AQUAMIST / SPRAY SAFE | CATEGORY-2
5 | FIRE HYDRANT LANDING VALVES / FIRE BRIGADE CONNECTION | SHOOTFIRE (VIMAL) / LIFEGUARD (UNITED FIRE) / ZOLOTO / KALPEX (KALPATARU) / NEWAGE / HD / SPRAY SAFE | CATEGORY-2
6 | INSTALLATION VALVE (ISI MARKED) | ZOLOTO / ANERGY / CASTLE / SANT / VENUS | CATEGORY-2
7 | FIRE HOSE PIPES / FIRST AID HOSE REEL | RAVIN / SAFEX | CATEGORY-2
8 | BRANCH PIPE / NOZZLE / COUPLINGS | RAVIN / SAFEX | CATEGORY-2
9 | FIRE EXTINGUISHERS | SAFEX / RAVIN / KANEX (KANADIA FYR) / FIRE SHIELD | CATEGORY-2
10 | HEAT DETECTION TUBE GAS SUPPRESSION SYSTEM | VIVINA / ASES / SHOOTFIRE (VIMAL) / LIFEGUARD (UNITED FIRE) / CEASEFIRE / KALPEX (KALPATARU) / FOAMTECH / SUPREMEX / ANSUL / LPG / HYGOOD / FIRETREX (SVS) | CATEGORY-2
11 | TOTAL FLOODING GAS SUPPRESSION SYSTEM | VIVINA / SIEMENS / SHOOTFIRE (VIMAL) / LIFEGUARD (UNITED FIRE) / CEASEFIRE / KALPEX (KALPATARU) / FOAMTECH | CATEGORY-2
12 | KITCHEN HOOD GAS SUPPRESSION SYSTEM | VIVINA / SHOOTFIRE (VIMAL) / UNITED / FOAMTECH / CEASEFIRE / KALPATARU | CATEGORY-2
13 | FLOW SWITCH | ANERGY | CATEGORY-3
14 | FIREMAN AXE | LIFEGUARD (UNITED FIRE) / NEWAGE / FIRE SHIELD / ADVANCE | CATEGORY-3
15 | DIESEL ENGINE DRIVEN PUMP FOR FIRE FIGHTING | TMTL (TAFE MOTORS) / KSB / WILO / GRUNDFOS / KIRLOSKAR / MAHINDRA POWEROL / CATERPILLAR / ASHOK LEYLAND | CATEGORY-2
16 | PUMPS - VERTICAL / HORIZONTAL / SUBMERSIBLE | HAVELLS / WILO / GRUNDFOS / ANDRITZ / KSB / KIRLOSKAR / XYLEM / AQUA ANS / BEACONS / MATHER & PLATT / CROMPTON / WASP / JYOTI / VOLTAS / GREAVES / AMRUT / PEC / SUGUNA / CALAMA | CATEGORY-2
17 | MOTORS | ROTOMOTIVE / KSB / HAVELLS / TMEIC / GRUNDFOS / BCH / KIRLOSKAR / BHARAT BIJLEE / ALSTOM / SIEMENS / JYOTI / ABB / CROMPTON / NGEF | CATEGORY-2
18 | MOTOR STARTER | BENTEC / KSB / HAVELLS / LS POWER / GRUNDFOS / PHOENIX / C&S / BCH / ABB / SIEMENS / SCHNEIDER / L&T / BENLO / EATON / VIDHYUT CONTROL / MOTOVARIO / CUTLER HAMMER / GE POWER / ABS | CATEGORY-2
19 | SINGLE PHASE PREVENTER / OVER LOAD PROTECTION | C&S / L&T / SELEC / BCH / HAGER / GE POWER / SIEMENS / MINILEC / ABB | CATEGORY-3
20 | PRESSURE SWITCH | DANFOSS / EMERALD / SWITZER | CATEGORY-2

## GI SHEETS, GRILLS & INSULATION
SR. NO. | ITEMS | PREFERRED MAKES (W.E.F. 22.09.2023) | CATEGORY FOR TEST CERTIFICATION/INSPECTION
1 | GI SHEETS | JSW STEEL / RUSKIN TITUS / JINDAL / TATA / HSL / SAIL | CATEGORY-2
2 | GRILLS / DIFFUSERS | MAPRO (AIR FLOW) / RUSKIN TITUS / CARYAIRE / GREENHECK / CRYSTAL / TRISTAR / CONAIRE / AIRMESTER / VINAYAGA / CORPORATION / AJANTA / RAVISTAR | CATEGORY-3
3 | INSULATION MATERIAL - ROCK WOOL / GLASS WOOL / NITRILE RUBBER | SUNROCK (THERMOCARE ROCK WOOL) / INSUFLEX (THE SUPREME) / LIONROCK / POLYBOND / EPACK / NIVIGA INSUL / ARMAFLEX / ALP AEROFLEX / K-FLEX / LLOYDS / PARAMOUNT / PILKINGTON / BEARDSELL | CATEGORY-3
4 | INSULATION MATERIAL - XLPE / EPDM | AEROLAM / INSUFLEX (THE SUPREME) / TROCELLEN / ALP AEROFLEX / INSUFLEX / K-FLEX / PARAMOUNT | CATEGORY-3
5 | PRE-FABRICATED GI DUCT | DUCTOFAB / WAVES / ZECO / REFROTECH / ADVANCE VENTILATION | CATEGORY-3
6 | FIRE DAMPERS | MAPRO (AIR FLOW) / RUSKIN / CARYAIRE / TRISTAR / CONAIRE / GREENHECK | CATEGORY-2
7 | AIR CURTAINS | EURONICS / MITZVAH / TECHNOCRATS / DOLPHY / ALMONARD / BECON / TECHNOMECH / RUSSEL / AERODYNAMICS | CATEGORY-2
8 | MODULATING MOTOR | ANERGY / SIEMENS / GRUNDFOS / CONAIRE / HONEYWELL / JOHNSON / STEFA CONTROL / RAPID COOL | CATEGORY-2

## SOLAR PLANT & ACCESSORIES
SR. NO. | ITEMS | PREFERRED MAKES (W.E.F. 22.09.2023) | CATEGORY FOR TEST CERTIFICATION/INSPECTION
1 | SOLAR INVERTER / POWER CONDITIONING UNIT | SELEC / HAVELLS / POWER ONE / DELTA | CATEGORY-2
2 | SOLAR MODULES | SWELECT / HAVELLS / JAKSON / HHV SOLAR TECHNOLOGIES (HHV ST) | CATEGORY-2
3 | DC CABLES | RR KABEL / SPECIAL CABLES / JMW / POLYCAB / RALLISON (LKB) / HAVELLS / KEC / HPL / GLOSTER / KEI / BONTON / CMI / ALOKE (ANKUR) / APAR / BHANSALI | CATEGORY-2
4 | ALL-IN-ONE SOLAR STREET LIGHT | BAJAJ / WIPRO / ORIENT | CATEGORY-2

## MISCELLANEOUS & OTHER MECHANICA
SR. NO. | ITEMS | PREFERRED MAKES (W.E.F. 22.09.2023) | CATEGORY FOR TEST CERTIFICATION/INSPECTION
1 | HAND DRIER | TECHNOCRATS / EURONICS / DOLPHY / ANAND AUTOMATIC SYSTEM / KOPAL | CATEGORY-3
2 | DOUBLE WALL CORRUGATED HDPE PIPE | KESHAV KRIPA / TIRUPATI PLASTOMATIC / NARAYANI POLYPIPES / GEMINI / GANGOTRI / HIMALYAN | CATEGORY-3
3 | PLAIN HDPE PIPE | KESHAV KRIPA / NARAYANI VALENS / MANGALAM / BEC | CATEGORY-3
4 | AUTOMATIC SLIDING DOOR | NEPTUNE / SADIYA / DORMAKABA / TECHNOCRATS / AUTOINGRESS / CODREJ | CATEGORY-3
5 | ELEVATOR | TRIO ELEVATOR / OMEGA ELEVATOR / ESCON / JOHNSON LIFTS / ECE | CATEGORY-1
6 | ESCALATOR | TRIO ELEVATOR / OMEGA ELEVATOR / JOHNSON LIFTS | CATEGORY-1
7 | BOLLARD | AVIANS / SWARAJ / SADIYA / TECHNOCRATS / EURONICS / NEPTUNE / BROSIS | CATEGORY-3
8 | BOOM BARRIER | AVIANS / SWARAJ / SADIYA / DORMAKABA / TECHNOCRATS / BROSIS / NEPTUNE / AUTOINGRESS | CATEGORY-3
9 | TROLLEY GATE | AVIANS / SWARAJ / SADIYA / TECHNOCRATS / DELITE / AUTOINGRESS | CATEGORY-3
10 | TYRE KILLER | SWARAJ / SADIYA / TECHNOCRATS / NEPTUNE / BROSIS | CATEGORY-3
11 | EXTERNAL LIGHTING POLES | UTKARSH / SKIPPER / BP PROJECTS / K-LITE / PRAKASH SURYA (SURYA ROSHNI) / TRANSRAIL / SIGNIFY / BAJAJ / WIPRO / ORIENT ELECTRIC / CROMPTON | CATEGORY-3
12 | DECORATIVE POLE | UTKARSH / SKIPPER / BP PROJECTS / K-LITE / PRAKASH SURYA (SURYA ROSHNI) / TRANSRAIL / SIGNIFY / BAJAJ / WIPRO / ORIENT ELECTRIC / CROMPTON | CATEGORY-3
13 | HIGH MAST | UTKARSH / SKIPPER / BP PROJECTS / K-LITE / PRAKASH SURYA (SURYA ROSHNI) / TRANSRAIL / SIGNIFY / BAJAJ / WIPRO / ORIENT ELECTRIC / CROMPTON | CATEGORY-3
14 | ALUMINIUM LADDERS / HYDRAULIC LADDERS | DELITE / SUMER / PARAS / VARDHMAN | CATEGORY-2
15 | DASH FASTENERS | HILTI / MUNGO | CATEGORY-4

## GROUND LIGHTING ITEMS
SR. NO. | ITEMS | PREFERRED MAKES (W.E.F. 22.09.2023) | CATEGORY FOR TEST CERTIFICATION/INSPECTION
1 | EXTERNAL LIGHTING POLES | UTKARSH / SKIPPER / BP PROJECTS / K-LITE / PRAKASH SURYA (SURYA ROSHNI) / TRANSRAIL / SIGNIFY / BAJAJ / WIPRO / ORIENT ELECTRIC / CROMPTON | CATEGORY-3
2 | DECORATIVE POLE | UTKARSH / SKIPPER / BP PROJECTS / K-LITE / PRAKASH SURYA (SURYA ROSHNI) / TRANSRAIL / SIGNIFY / BAJAJ / WIPRO / ORIENT ELECTRIC / CROMPTON | CATEGORY-3
3 | HIGH MAST | UTKARSH / SKIPPER / BP PROJECTS / K-LITE / PRAKASH SURYA (SURYA ROSHNI) / TRANSRAIL / SIGNIFY / BAJAJ / WIPRO / ORIENT ELECTRIC / CROMPTON | CATEGORY-3
4 | ALUMINIUM LADDERS / HYDRAULIC LADDERS | DELITE / SUMER / PARAS / VARDHMAN | CATEGORY-2
5 | DASH FASTENERS | HILTI / MUNGO | CATEGORY-4
6 | GEAR BOX | GEC / ALMONARD / SIEMENS / ROTOMOTIVE | CATEGORY-3
7 | GEARED MOTOR | GEC / ALMONARD / SIEMENS / ROTOMOTIVE | CATEGORY-3
8 | GROUND LIGHTING ITEMS | PAPI / JS LAMPS / KOILITE / PHILIPS | CATEGORY-1

## PA SYSTEMS AND RELATED ITEMS
SR. NO. | ITEMS | PREFERRED MAKES (W.E.F. 22.09.2023) | CATEGORY FOR TEST CERTIFICATION/INSPECTION
1 | AMPLIFIERS | SCHRACK / HEINRICH / BOSCH / YAMAHA / NEXO / HONEYWELL / BOSE | CATEGORY-2
2 | ANNOUNCEMENT MICROPHONES / CAR CALL CONSOLES | SCHRACK / HEINRICH / BOSCH / YAMAHA / NEXO / HONEYWELL / BOSE | CATEGORY-2
3 | CONTROLLERS | SCHRACK / BOSCH / HEINRICH / YAMAHA / NEXO / HONEYWELL | CATEGORY-3
4 | SPEAKER | SCHRACK / HEINRICH / BOSCH / YAMAHA / NEXO / HONEYWELL / APOLLO / EDWARDS (UTC) / SIEMENS / NOTOFIRE / BOSE | CATEGORY-3
5 | DIGITAL CALL STATION / WORK STATION | HEINRICH / BOSCH | CATEGORY-3
6 | EQUIPMENT RACK | HEINRICH / BOSCH | CATEGORY-3
7 | DVD PLAYER | HEINRICH / BOSCH | CATEGORY-2
8 | CABLE FOR MICROPHONE / SPEAKER | RR KABEL / JMV KABEL / POLYCAB / BONTON / BOSCH / HPL / KVVS (INDUSTRIAL) | CATEGORY-2
9 | DIGITAL LINE ARRAY SPEAKER | HEINRICH / BOSCH | CATEGORY-2
10 | CCTV CAMERA | HEINRICH / SIEMENS / BOSCH / TYCO-ILLUSTRA / HONEYWELL / ULTRAK / PELCO | CATEGORY-2
11 | DVR | HEINRICH / BOSCH / TYCO-ILLUSTRA / HONEYWELL / ULTRAK / PELCO / SIEMENS | CATEGORY-2
12 | MONITOR - LCD/LED/PLASMA | SAMSUNG / LG / SONY / JVC / PANASONIC / BOSCH / ULTRAK / PELCO | CATEGORY-2
13 | COMPUTER ACCESSORIES | HP / DELL / WIPRO / IBM | CATEGORY-2